## Sheet1
Material number | Description | TEQ/tools | Final weekly rental rate (EUR)
A9B000082549 | RUD swivel eye plate VLBG M24x37 WLL 4T | TEQ | 1
A9B00018579 | Roundsling 100mt. 5m/10m | Tools | 5
A9B00019022 | Roundsling 60mt. 6m/12m | Tools | 3
A9B00019023 | Roundsling 60mt. 8m/16m | Tools | 5
A9B00019071 | CHAIN HOIST / ELECTRIC 12T 8M LIFT 400 | Tools | 105
A9B00019761 | Shackle G-4163 WLL 8.5T | Tools | 1
A9B00036502 | STABILIZERPLATE 1000X1000X60 < | TEQ | 2
A9B00036503 | STABILIZERPLATE 500X500X60 < | TEQ | 2
A9B000556839 | DE-HUMIDIFIER CR80B COMPL.1.3/2.3MW | TEQ | 6
A9B000557586 | ELEPHANT FOOT <1,3; 2,3 MW | Tools | 112
A9B00057447 | SIGN "F37" BLACK 50CM SELF- | Tools | 1
A9B00068099 | Bolt M30x320 8.8 ISO4014 tZn | TEQ | 1
A9B00075503 | Container 20´Ot | Tools | 15
A9B00082112 | Rundsling 10mt, 1,5m/3m | Tools | 1
A9B00082129 | Roundsling 30mt. 5,5m/11m | Tools | 2
A9B00082143 | Roundsling 40mt. 5m/10m | Tools | 2
A9B00082145 | Roundsling 40mt. 10m/20m | Tools | 4
A9B00083359 | Roundsling 80mt. 5m/10m | Tools | 12
A9B00090236 | ITH Tensioner M48X5 DIN976 | Tools | 101
A9B00400448 | Terminal Board For "Cc Jensen" | TEQ | 6
A9B00515491 | CASTING TEMPL. COMPL. <1MW | Tools | 20
A9B00521289 | Transport frame for Nacelle Part 2 - ring, (Ø2370x768) | TEQ | 14
A9B00538726 | Nacelle frame, 2,3MW | TEQ | 13
A9B00542428 | Transport foot F tower, Ø2380/Ø2392 (2000x400xH571) | TEQ | 12
A9B00548629 | LEG FOR ELEFANT FOOT 1,3MW (3,9M) | Tools | 11
A9B00558739 | LEG F ELEPHANT FOOT <2,3MW MK2 (5 M) | Tools | 32
A9B00559213 | Side leg F tower, Ø4200 | TEQ | 6
A9B00561310 | PLATE FOR ELEPHANT 1,3; 2,3 MW (for 5M) | Tools | 30
A9B00561630 | Transport foot F tower, Ø4500 (1920x350xH495) | TEQ | 13
A9B00562312 | Transport plate f PU 2,3MW | TEQ | 17
A9B00565605 | Transport frame for Nacelle Part 1 - feet, (6000x2370x400) | TEQ | 48
A9B00800523 | Lifting bracket root end B40 + B45 | TEQ | 1
A9B00800756 | Lifting bracket root end B52+B58+B63 | TEQ | 2
A9B10004799 | Dehumidifier CR400BW 230V/50Hz incl hygr | TEQ | 13
A9B10005275 | SIDE PLATE F ELEPHANT FOOT | Tools | 7
A9B10005309 | Powerunit 48-60 kVA onshore complete | Tools | 225
A9B10006724 | Truck knee for FENRIR, S/tr | TEQ | 6
A9B10007103 | Lifting tool gear nacelle part complete | Tools | 100
A9B10007287 | Descend unit w/hoist 85m GB seal Milan | Tools | 5
A9B10007740 | HUB FRAME, S/TR , 2,3 MK III ,for hub MK3, only single blade installation | TEQ | 30
A9B10007993 | Lifting hook, assembly, Arche, WLL=55T, J-hook | TEQ | 23
A9B10008789 | Frame under tip bracket, "Kale", Assembly | TEQ | 13
A9B10009777 | Sling shackle P-6033 WLL 55T | Tools | 3
A9B10009848 | Roundsling 60mt. 4m/8m | Tools | 3
A9B10010463 | Bladeroot bracket, B45 - S/tr "Atlas" | TEQ | 33
A9B10010469 | Platform, Tip end - B45, welded ST/R (1025x586x600) | TEQ | 10
A9B10010483 | BLADETIP BRACKET, ASS. B45 "Fenrir" | TEQ | 16
A9B10010609 | Root frame support, B45 og B49 (2,3m) | TEQ | 9
A9B10010986 | SWP tool f IMS shaft replac. on PEAB4456 | Tools | 60
A9B10011010 | Tools f.replace.of highSpeed shaft 2.3mw | Tools | 43
A9B10011738 | Roundsling 40mt. 2.5m/5m | Tools | 1
A9B10013216 | Transport foot for tower, Ø5000 (1920x350xH490) | TEQ | 12
A9B10014899 | Sling shackle P-6033 WLL 150T | Tools | 15
A9B10014900 | Roundsling 50mt 5.4m/10.8m | Tools | 4
A9B10015782 | Transport foot f. tower, Ø3960 (1920x350xH500) | TEQ | 13
A9B10016468 | Trailing edge protector B52 | TEQ | 1
A9B10016512 | LIFTING BRACKET TOP PART COMLPETE | Tools | 18
A9B10017471 | Lifting bracket root end B49+B53+B55 | TEQ | 1
A9B10018844 | Transport bracket, Deimos, assembly | TEQ | 54
A9B10019784 | Bladeroot bracket, B49 Ariel - Assembly | TEQ | 10
A9B10020955 | Ariel - Top root frame B49 | TEQ | 4
A9B10020957 | Ariel - Coupler for root frame B49 | TEQ | 4
A9B10020958 | Ariel - Lower root frame extension B49 | TEQ | 4
A9B10020960 | Ariel - Root bracket- top, B49 | TEQ | 29
A9B10021153 | Transport frame f. hub, 2,3MW | TEQ | 120
A9B10021735 | Lifting rail system ass. 3.0 MW DD | Tools | 14
A9B10021778 | SNATCH BLOCK 8T | Tools | 2
A9B10024354 | Ariel - Tip frame top section B49 | TEQ | 2
A9B10024355 | Ariel - Tip frame bottom section B49 | TEQ | 7
A9B10025400 | Roundsling 85Mt 7M/14M | Tools | 6
A9B10025431 | Roundsling 45T 3m/6m | Tools | 2
A9B10025432 | Round sling 65T L=5m (circ.=10m) | Tools | 4
A9B10026882 | Transport foot Ftower, Ø4200 / Ø3960 (1920x350xH490) | TEQ | 10
A9B10026909 | Transport bracket part 1 for PU frame | TEQ | 3
A9B10026910 | Transport bracket part 2 for PU frame | TEQ | 4
A9B10027034 | Roundsling 40mt 3M/6M | Tools | 2
A9B10033912 | Side leg F tower, Ø3500 | TEQ | 6
A9B10034315 | Support leg for nacelle transport, 3,0MW | TEQ | 22
A9B10034316 | Beam f. nacelle transport, SWT2,3/3,0DD | TEQ | 11
A9B10034847 | Transport foot f. tower, D4450 | TEQ | 17
A9B10035626 | Transport foot F tower, Ø4800, (1920x350xH565) | TEQ | 21
A9B10037342 | Flight case for delta module ABB | Tools | 19
A9B10039208 | Sling shackle P-6033 WLL 200T | Tools | 22
A9B10040546 | Roundsling 50mt 2/4m | Tools | 2
A9B10040982 | Roundsling 50mt 2,5/5m | Tools | 2
A9B10041313 | Trafo swap tool for 2,3-3,0MW | Tools | 102
A9B10041791 | PLARAD HOSE 800 BAR 5 M | Tools | 4
A9B10041792 | PLARAD HOSE 800 BAR 10M | Tools | 5
A9B10041794 | CONTROLLER BOX FOR HUB 1,3 - 2,3 MW | Tools | 10
A9B10041797 | LIFTING EQUIPMENT F ERECTION 600KW MK4 | Tools | 54
A9B10041798 | Tools for erection 450+600kw mk1+2+3+3C | Tools | 33
A9B10041800 | Special Rollgliss For Working< | Tools | 19
A9B10041810 | ITH HYDRAULIC PUMP 1500 BAR 230V | Tools | 17
A9B10041841 | ITH TENSIONER M42X3 DIN976 65 MM | Tools | 29
A9B10041843 | S 8000 GENERATOR 6,5 KVA BENZIN 220 VOLT | Tools | 24
A9B10041844 | S8000 GENERATOR 6,5 KVA BENZIN 110 VOLT | Tools | 17
A9B10041845 | ITH TENSIONER M36X4 DIN976 55MM | Tools | 31
A9B10041847 | ITH HOSE 2500 BAR 6M | Tools | 6
A9B10041849 | ITH TENSIONER M36X4 DIN6916 60MM | Tools | 20
A9B10041861 | Service Crane ADD-ON < 2,3MW | Tools | 42
A9B10041864 | PULLER TOOLS F BLADE CYL. 2.3MW CS | Tools | 13
A9B10041865 | LIFTING EQUIP. F REPLA. OF REACTOR 2.3MW | Tools | 19
A9B10041868 | LIFTING BOOM F TRAFO- < 2,3MW | Tools | 14
A9B10041871 | PLARAD HYDRAULIC PUMP VAX2 110V | Tools | 68
A9B10041872 | SLING 75T X 10,0M | Tools | 5
A9B10041873 | SLING 60T X 14,0M | Tools | 4
A9B10041875 | CONTR BOX F CRANE/YAW<2.3 MKII 220V | Tools | 5
A9B10041876 | SHACKLE SWL=75T WIDE BODY PIN< | Tools | 8
A9B10041877 | Flight Case for Hydraulic Pump. | Tools | 3
A9B10041878 | IMPACT SPANNER 1" BOSCH 220V | Tools | 6
A9B10041882 | IMPACT SPANNER 3/4" HITACHI 220V | Tools | 4
A9B10041883 | SHACKLE 3 3/8" SWL=125T,SLING< | Tools | 14
A9B10041885 | MILAN HUB A-024 | Tools | 10
A9B10041887 | PUMP UNIT FOR TURNING THE < | Tools | 73
A9B10041888 | ITH HYDRAULIC PUMP 1500 BAR 110V | Tools | 59
A9B10041889 | ITH TENSIONER M48X5 DIN 6914 80MM | Tools | 34
A9B10041890 | POWERUNIT 48-60 KVA OFFSHORE | Tools | 379
A9B10041895 | BOX FOR STARTING UP OF VS | Tools | 18
A9B10041896 | SUITCASE FOR TROUBLESHOOTING | Tools | 5
A9B10041899 | LIFTING BRACKET F. ROTOR/HUB CPL. 2,3MW | Tools | 25
A9B10041900 | TOOLS SUITCASE COMPLETE | Tools | 14
A9B10041901 | POWERUNIT 100 KVA OFFSHORE | Tools | 638
A9B10041902 | ITH TENSIONER M48X5 DIN 6914 80 MM, 9038 | Tools | 54
A9B10041903 | PRESS IN TOOL ELPRESS COMPL. < | Tools | 39
A9B10041906 | PLARAD MOMENT TOOL MXEC45TS | Tools | 36
A9B10041907 | SHT EL-BOLT FASTENER 1" 2200NM 220V | Tools | 46
A9B10041909 | PLARAD MOMENT TOOL MSX/T20TF | Tools | 29
A9B10041910 | CONSTRUCTION POWER BOX 690V < | Tools | 12
A9B10041912 | TOOLS F REPLA. OF GEARBOX 2.3MW HANSEN | Tools | 233
A9B10041914 | LIFT EQUIP. IMS SHAFT Winergy | Tools | 151
A9B10041917 | TOOLS FOR 500 HOUR SERVICE 2.3MW 220V< | Tools | 91
A9B10041919 | LAUS TOOLS COMPL. F SERVICE | Tools | 7
A9B10041920 | ALIGNMENT TOOL F GENERATOR 2.3MW | Tools | 24
A9B10041921 | IMPACT SPANNER 1" BOSCH 110V | Tools | 6
A9B10041922 | IMPACT SPANNER 3/4" HITACHI 110V | Tools | 5
A9B10041923 | TURNING GEAR 1,3MW | Tools | 196
A9B10041924 | TURNING GEAR (19118)SWT-2.3-93 | Tools | 225
A9B10041925 | ELEPHANT FOOT F HUB 1MW/1,3MW | Tools | 9
A9B10041926 | TORQUE WRENCH 200-800NM | Tools | 5
A9B10041927 | TORQUE WRENCH 8-60NM 9X12MM | Tools | 1
A9B10041928 | TORQUE WRENCH 20-100NM 9X12MM | Tools | 2
A9B10041929 | TORQUE WRENCH 80-400NM 14X18MM | Tools | 2
A9B10041930 | TORQUE WRENCH 160-800NM | Tools | 5
A9B10041931 | TOOLS F REPLA. OF BLADE CYL. 2.3MW MK2 | Tools | 29
A9B10041933 | REAR CHAIN T NACELLE 3,6MW | Tools | 16
A9B10041935 | LIFT. YOKE F B52 BLADES 71 TON | Tools | 718
A9B10041939 | TOOL MOUNT. TOWER ON <3,6MW | Tools | 25
A9B10041941 | TORQUE WRENCH 40-200NM. 14X18M | Tools | 2
A9B10041942 | TORQUE WRENCH HYDR. F/CASSETTE SX5TST | Tools | 23
A9B10041946 | TORQUE WRENCH HYDR. F/CASSETTE SX2TST | Tools | 27
A9B10041947 | PLARAD CASSETTE 60MM F/SX5TST | Tools | 24
A9B10041948 | PLARAD CASSETTE 36MM F/SX5TST | Tools | 24
A9B10041949 | PLARAD CASSETTE 46MM T/SX5TST | Tools | 23
A9B10041950 | PLARAD CASSETTE 55MM F/SX5TST | Tools | 24
A9B10041951 | PLARAD CASSETTE 55MM F/SPEC. | Tools | 31
A9B10041953 | JUWEL EL-BOLT FASTENER 1½" 3500NM 220V | Tools | 60
A9B10041954 | TORQUE WRENCH 4- 20NM 9X12MM | Tools | 1
A9B10041955 | PLARAD MOMENT TOOL MXEC75TS | Tools | 57
A9B10041956 | MAGNETIC DRILLING MASCHINE 220v PB100 | Tools | 12
A9B10041957 | LASER EQUIPTMENT F. ALIGNMENT GENERATOR | Tools | 89
A9B10041959 | BELT SLING L1, l=11,8Mx300MM- WLL: 20T | Tools | 2
A9B10042034 | LIFTING BOOM F. NACELLE CPL 3.6MW | Tools | 58
A9B10042035 | TOOL ALIGNMENT OF <3,6MW | Tools | 115
A9B10042037 | TOOL FOR STARTING UP <3,6MW | Tools | 136
A9B10042039 | Tools for Pre-assembly Mount misc on blade 3,6_4,0MW | Tools | 54
A9B10042055 | Lift.Equipm.Container Pre-assembly 3.6/4.0MW | Tools | 307
A9B10042060 | LIFTING BRACKET FOR TOWER, COMPLETE | Tools | 7
A9B10042084 | Crossbar for single blade CLIP-ON | Tools | 600
A9B10042086 | TOOLS FOR 500 HOUR SERVICE 2.3MW 110V | Tools | 70
A9B10042087 | ROTOR YOKE FOR B40, B45, B49 COMPLETE | Tools | 303
A9B10042088 | TOOLS F MOUNTING TURBINE 2.3MW/3.0MW 220V | Tools | 92
A9B10042090 | TOOLS F ERECTING TURBINE 2.3MW/3.0MW 110V 50HZ | Tools | 190
A9B10042221 | LIFTING BRACKET TOWER OVAL hul | Tools | 1
A9B10042222 | Tools f erecting 2.3/3.0MW 220V/110V | Tools | 247
A9B10042224 | TOOLS FOR STARTING UP THE< 1,3MW 110V | Tools | 50
A9B10042225 | TOOLS FOR STARTING UP TURBINE 2.3MW/3.0MW 110V | Tools | 135
A9B10042227 | TOOLS FOR STARTING UP TURBINE 2.3MW/3.0MW 220V | Tools | 88
A9B10042230 | TOOL 110V MOUNT. TURNER <3.6MW | Tools | 26
A9B10042238 | JUWEL EL-BOLT FASTENER 1" 2500NM 220V | Tools | 50
A9B10042240 | 48-60 KVA POWERUNIT IN FRAME OFFSHORE | Tools | 255
A9B10042241 | HANDHOLD ANEMOMETER | Tools | 6
A9B10042242 | Lift.Equipm.Container Er.2.3MW Vs | Tools | 576
A9B10042244 | TOOLS F REPLACEMENT OF GEARBOX 1.3MW | Tools | 145
A9B10042245 | Tools F Repla. Of Brakecaliper Yaw 3.6MW | Tools | 16
A9B10042247 | LIFTING EQUIPM. F REPLA.OF GEARBOX 1.3MV | Tools | 91
A9B10042248 | *DO NOT USE* TOOLS F REPLA. OF GEARBOX 2.3MW WINERGY | Tools | 257
A9B10042250 | LIFT EQUIP.F REPLA.OF BLADE IN AIR 1.3MW | Tools | 20
A9B10042252 | Lifting bracket, tower section, cpl, 55t | Tools | 5
A9B10042255 | IDEL MACHINE (400/690V) | Tools | 55
A9B10042256 | MAIN SHAFT FIXTURE ASS.2-2,3MW | Tools | 108
A9B10042258 | DE-HUMIDIFIER CR80B COMPL.1.3/2.3MW | Tools | 6
A9B10042259 | EASY GREASE COMPLETE 110V VERS 2 | Tools | 28
A9B10042260 | COUNTER WRENCH LKS 2 COMP. 70, 75, 80MM | Tools | 19
A9B10042271 | PULLERTOOL F MAINSHAFT/GEARBOX 450-600KW | Tools | 126
A9B10042275 | SLING SWL 125T L=9500 | Tools | 11
A9B10042278 | NACELLE TILT 1 / AKTUATOR SWT-2.3-93/82 | Tools | 50
A9B10042283 | POWERUNIT 30-40 kVA ONSHORE | Tools | 140
A9B10042284 | CONTR. BOX F. CRANE/YAW <2,3MW VS 220V CEE | Tools | 5
A9B10042286 | CONTR BOX F CRANE/YAW<2.3MW VS 110V CEE | Tools | 7
A9B10042287 | ALUMINIUM SHELLES FOR B40 Hudson YOKE | Tools | 86
A9B10042290 | BLADE CRADLE, ASSEMBLED - LOGE | Tools | 99
A9B10042291 | BLADE CRADLE ASSEMBLED - LUNA | Tools | 78
A9B10042293 | PLARAD CASSETTE 50MM T/SX2TST HSX250F | Tools | 18
A9B10042322 | PULLERTOOL F GEN. FLANGE 600KW MK3 | Tools | 10
A9B10042325 | TOOLS F BLADE REPAIR 220V | Tools | 46
A9B10042326 | TOOLS F. REPLA. OF BEARING ON GEN.1-1.3MW | Tools | 59
A9B10042328 | LIFTING EQUIP. F REPLA.OF GEAR/SHAFT 1MW | Tools | 18
A9B10042329 | TOOLS CONTAINER INCL TOOLS 110V-220V | Tools | 246
A9B10042330 | MIX CONTAINER INCL TOOLS 110V-220V | Tools | 135
A9B10042338 | VG-PROTECTOR 1200 MM | Tools | 8
A9B10042340 | Spreader Beam, Bestla, S/TR | Tools | 52
A9B10042341 | TOOLS F REPLACEMENT OF OLD TRAFO 2.3MW | Tools | 44
A9B10042342 | TOOLS F REPLACEMENT OF YAW GEAR 1.3MW | Tools | 48
A9B10042346 | TOOLS F. YAW GEAR REPLACEMENT | Tools | 32
A9B10042347 | TOOLS F TESTING SERVICE KRAN 2-2.3MW | Tools | 25
A9B10042351 | Lifting bracket, Bestla, S/TR | Tools | 33
A9B10042352 | DATALOGGER FOR INST. CRANE, COMPL. | Tools | 40
A9B10042353 | BACK EDGE PROTECTOR B40 | Tools | 19
A9B10042354 | BACK EDGE PROTECTOR B45 | Tools | 25
A9B10042355 | BACK EDGE PROTECTOR B49 | Tools | 17
A9B10042356 | ROTORPLATFORM COMPLETE 2,3MW | Tools | 64
A9B10042357 | AHIP OFFROADER 4x4 STANDARD | Tools | 228
A9B10042358 | Magnetic drilling mashine Alfra AV32 23 | Tools | 11
A9B10042359 | Magnetic drilling mashine Alfra AV32 110 | Tools | 12
A9B10042360 | MILLIOHMMETER CROPICO 4000 | Tools | 6
A9B10042371 | LIFTING TOOL F. HUB 1,3MW BLADE COMPLETE | Tools | 18
A9B10042372 | EL-TACKLE 110M ASS 3x690V 50Hz 500kg | Tools | 25
A9B10042373 | ITH TENSIONER M48X3 DIN 6914 75 MM | Tools | 36
A9B10042377 | RELEASEHOOKS FOR SPREADERBAR B52 | Tools | 49
A9B10042378 | PLARAD CASSETTE 65MM T/SX5TST | Tools | 24
A9B10042380 | ALUMINIUM SHELLE SET FOR B45 | Tools | 86
A9B10042381 | TOOLS F DISM TRANS BRAC BLADE 2,3MW 220V | Tools | 22
A9B10042385 | TOOLS FOR SHIMSING FOUND/TOWER 110V | Tools | 15
A9B10042387 | ROTOR YOKE B52-B53-B55-B58 | Tools | 465
A9B10042391 | ALUMINIUM SHELLE SET FOR B52 16.5T | Tools | 86
A9B10042392 | ALUMINIUM SHELLE SET FOR B52 19.5T | Tools | 39
A9B10042394 | DRY container 20" | Tools | 29
A9B10042395 | STOCK container 40" | Tools | 126
A9B10042396 | Lifting bracket - 120m rotor (old hub) | Tools | 108
A9B10042397 | PLARAD MOMENT TOOL MXEC95TS | Tools | 70
A9B10042398 | Steam cleaner for site | Tools | 64
A9B10042401 | Lifting bracket, Elara, complete | Tools | 6
A9B10042402 | Tools for Pre-assembly Nacelle Hub assembly 3.6 & 4.0MW 110/220V | Tools | 30
A9B10042404 | TOOLS F REPLACEMENT MAIN BEARING 2-2.3MW | Tools | 993
A9B10042406 | ALUMINIUM SHELLE SET FOR B49 Hudson YOKE | Tools | 99
A9B10042407 | Tools F. Mount. Blade Load Censors 230V. | Tools | 22
A9B10042408 | ITH Hydromax pump type 138 | Tools | 80
A9B10042421 | Setup kit - complete | Tools | 4
A9B10042422 | Ropekit 200m red - complete | Tools | 4
A9B10042423 | Ropekit 250m red - complete | Tools | 5
A9B10042427 | Harness kit size S/M ONSHORE | Tools | 7
A9B10042428 | Harness kit size L/XL ONSHORE | Tools | 8
A9B10042429 | Siemens Spec Pak Kit | Tools | 14
A9B10042430 | Lift.yoke f.trans.frame2,3MWhub flatnos | Tools | 38
A9B10042452 | LIFTING BOOM F TRAFO/POWERUNIT 2,3MW ABB | Tools | 9
A9B10042453 | Tools f.repl.of HSS shaft, 2,3Mw Hansen | Tools | 41
A9B10042458 | Lift.equipm.container erection 3.0MW DD | Tools | 471
A9B10042460 | Harness kit size XXL ONSHORE | Tools | 8
A9B10042461 | COVER F TOWER Ø 4200 F BUTTOMSEC. 2.3MW | Tools | 28
A9B10042462 | COVER F TOWER Ø 5000 F BUTTOMSEC. 3.6MW | Tools | 50
A9B10042465 | Løfteåg for transportramme 2,3MW hub | TEQ | 17
A9B10042466 | Ursuit Immersion Suit - size M | Tools | 3
A9B10042467 | Ursuit Immersion Suit - size L | Tools | 4
A9B10042468 | Ursuit Immersion Suit - size XL | Tools | 3
A9B10042470 | ITH HOSE 1500BAR 15M | Tools | 11
A9B10042482 | Ursuit Immersion Suit - size XXL | Tools | 5
A9B10042485 | Lifting bracket - 120m rotor | Tools | 128
A9B10042489 | COVER F TOWER Ø 3500 F BOT.SEC.2.3+3.0MW | Tools | 32
A9B10042491 | COVER F TOWER Ø 3960 F BOT.SEC. 2.3MW | Tools | 46
A9B10042512 | Harness kit size L/XL OFFSHORE | Tools | 5
A9B10042513 | Harness kit size S/M OFFSHORE | Tools | 5
A9B10042514 | Harness kit size XXL OFFSHORE | Tools | 4
A9B10042520 | Technician bag size L/XL OFFSHORE | Tools | 5
A9B10042531 | Technician bag size S/M OFFSHORE | Tools | 5
A9B10042532 | LIFE JACKET – COMPLETE INCL. BEACON+BAG | Tools | 4
A9B10042992 | ITH TENSIONER M42X4.5 DIN6914 70 MM | Tools | 34
A9B10042993 | ITH TENSIONER M42X4.5 DIN976 65 MM | Tools | 33
A9B10042994 | ITH TENSIONER M48X5 DIN976 75 MM | Tools | 40
A9B10042998 | PLARAD CASSETTE 36MM F/SX2TST HSX236F | Tools | 18
A9B10042999 | PLARAD CASSETTE 46MM F/SX2 HSX246F | Tools | 20
A9B10043000 | CONTROLLER BOX FOR HUB_ 3.6MW | Tools | 15
A9B10043023 | PLARAD HYDRAULIC PUMP VAX2 | Tools | 63
A9B10043024 | CONSTRUCTIVE ELEC.TRANSFORMER 400/690V | Tools | 36
A9B10043025 | PLARAD CASSETTE 50MM F/SX5TST HSX236F | Tools | 24
A9B10043026 | MULTIPLIER 3200NM WITH BOX | Tools | 12
A9B10043027 | LIFTING BRACKET TOWER TOP KPL. 2MW | Tools | 11
A9B10043028 | LIFTING BRACKET F. ROTOR/HUB, 2.3MKIII, COMPLETE | Tools | 39
A9B10043032 | CHAIN HOIST / ELECTRIC 12T 8M LIFT 400 | Tools | 70
A9B10043033 | Lifting Hook, Complete, Fish-Hook | Tools | 102
A9B10043035 | CHAIN SLING FOR GEAR 2.3MW | Tools | 82
A9B10043038 | TOOLS F REPLACEMENT MAIN BEARING 1.3MW | Tools | 98
A9B10043039 | TOOLS F REPLACEMENT OF IMS BEARING 1.3MW | Tools | 169
A9B10043071 | FLIGHT CASE F. ITH PUMP < regel 3500 | Tools | 2
A9B10043072 | FLIGHT CASE F. 2 TENSIONER <regel 3500 | Tools | 3
A9B10043074 | MOTORRIZED STAIR CLIMPER, 170 KG. COMPL. | Tools | 38
A9B10043076 | BACK EDGE PROTECTOR B52 | Tools | 23
A9B10043155 | SLING 50T X 11,4 / 5,7m | Tools | 3
A9B10043156 | Tackle 100M assembled 50HZ WLL1350kg > | Tools | 32
A9B10043157 | PLARAD CASSETTE 70MM F/SX5TST< | Tools | 23
A9B10043158 | TOOLS F REPLA. OF BEARING ON GEN. 2.3MW | Tools | 11
A9B10043159 | Tools f. Repl of Canopy Support 1,3 MW | Tools | 23
A9B10043160 | TOOLS F REPLACEMENT OF YAW RING 1.3MW | Tools | 191
A9B10043161 | LIFTING DEVICE F AXLEGEAR COMPLET 2/2,3 | Tools | 133
A9B10043162 | TOOLS F REPLA OF BLADEBEARING IN AIR 1MW | Tools | 39
A9B10043169 | TOOLS F. MOUNT. BLADE LOAD CENSORS 110v | Tools | 22
A9B10043172 | Dist.barrel f.elefantfoot 2,3 3,6MW Comp | Tools | 86
A9B10043173 | Hand tools for repl. of gearbox 2.3MW | Tools | 66
A9B10043174 | Lifting/tools con for transport 2.3MW | Tools | 311
A9B10043175 | EXTRACTOR TOOL F < 2-2,3MW | Tools | 26
A9B10043176 | Roundsling 60mt. 6.5m/13m | Tools | 8
A9B10043285 | Lifting yoke f. gen.frame, SWT 2,3/3,0DD | Tools | 31
A9B10043402 | PRESSURE TOOL <2,3MW | Tools | 19
A9B10043403 | TOOLS F CLAMPING RING & BEARINGCAB 2.3MW | Tools | 35
A9B10043407 | TOOLS FOR 500 HOUR SERVICE 1.3MW 220V | Tools | 85
A9B10043408 | TOOLS FOR 500 HOUR SERVICE 1,3MW 110V 50HZ | Tools | 96
A9B10043409 | LIFT.EQUIPM.CONTAINER ER.1,3MW | Tools | 105
A9B10043421 | TOOLS F REPLA. OF MAIN CABLE F GEN TO A4 | Tools | 23
A9B10043422 | TOOLS F DISMOUNT. HUB 600KW MK3 | Tools | 19
A9B10043423 | TOOLS F MOUNTING TURBINE 2.3MW/3.0MW 110V 50HZ | Tools | 108
A9B10043430 | LIFTING BRACKE F. TOP SEC. COMPLETE WLL:50T | Tools | 13
A9B10043447 | SLING 90T X 9,5M | Tools | 7
A9B10043448 | SLING 40T X 8,7M_(83380) | Tools | 2
A9B10043450 | SLING 80T X 8,0M | Tools | 4
A9B10043493 | TOOLS FOR SHIMSING FOUND/TOWER 220V | Tools | 16
A9B10043499 | DESCEND UNIT W/HOIST 110M POSE GB/DK SEAL * | Tools | 9
A9B10043680 | Roundsling 30mt. 6.5m/13m | Tools | 3
A9B10043886 | Blade foot f.root end, B52/58, sea trans (ver. 3) (2468x355x504) | TEQ | 16
A9B10044148 | Lifting bracket F tower bottom WLL=70T | Tools | 8
A9B10044264 | Multiplier SHT 8000nm | Tools | 30
A9B10044593 | Elephantfoot f hub 3.0DD/3.6mw assembled | Tools | 558
A9B10044594 | Tools for cable pulling 3.0DD | Tools | 40
A9B10044599 | Back edge protector B55 | Tools | 20
A9B10044600 | Power unit GLS 42 kVA. 690 volt | Tools | 55
A9B10044791 | Cover for Tower Ø4500 f Bottom Section | Tools | 60
A9B10044793 | EASY GREASE COMPLETE 230V VERS 2 | Tools | 18
A9B10044794 | Lift Yoke f hub 2.3-101 f. 3.0MW comp. | Tools | 77
A9B10044796 | Replacement of trafo 2,3 & 3,0 | Tools | 85
A9B10044797 | Lifting bracket top tower - WLL: 45T | Tools | 6
A9B10044799 | Lifting bracket bottom tower - WLL:60T | Tools | 7
A9B10044800 | ITH TENSIONER M42X3 DIN976 65 MM | Tools | 31
A9B10044825 | Tip bracket f B52 sea transport (1200x800x4091) | TEQ | 97
A9B10044984 | ITH TENSIONER M48X5 DIN 6914 80 MM, 10712 | Tools | 34
A9B10045225 | Turner system 3.0MW DD 220V | Tools | 6
A9B10045281 | TOOLS F.REPL.PISTON SEAL,PITCH CYL.2,3MW | Tools | 20
A9B10045284 | Lift.brac.f rotor/hub3.0DD-101/113 Comp. | Tools | 98
A9B10045421 | LIFTING BRACKET FOR HUB< 2,3MW | Tools | 94
A9B10045422 | LiftingYoke f trans.frame3,0MW hub comp. | Tools | 83
A9B10045701 | Torque Wrench MX-EC120TS | Tools | 73
A9B10046293 | Tools f 500 h service 2.3/3.0DD 110/230V | Tools | 98
A9B10046509 | Dynamometer 6,5T w/transmittor, in suitcase | Tools | 53
A9B10046575 | Lift. Yoke f. singlebladeinstall GEORGIA | Tools | 5344
A9B10046576 | SPAREPART CONT F/ GEORGIA BLADE YOKE | Tools | 569
A9B10047073 | Service kit change accumulator brackets | Tools | 14
A9B10047595 | ELPRESS PKL54 CABLECUTTER Complete | Tools | 11
A9B10048214 | Roundsling 60mt 1.8/3.6m | Tools | 2
A9B10048505 | Trans. leg f. nacelle trans, NG2 | TEQ | 87
A9B10048508 | Trans. barrel right f.nacelle, NG2 (75T) | TEQ | 29
A9B10048509 | Trans. barrel left f. nacelle, NG2 (75T) | TEQ | 46
A9B10048510 | Sea leg f. nacelle trans. NG2 (75T) | TEQ | 13
A9B10049228 | Transportframe f. hub, NG2 | TEQ | 137
A9B10049580 | Rundsling 50mt 4m/8m | Tools | 2
A9B10049789 | Hygrostat kit set for dehumidifier | TEQ | 2
A9B10049868 | Tip Support 300 mm | TEQ | 15
A9B10050414 | Cable Trailer | Tools | 31
A9B10050686 | Twin lifting bracket f gen. 3,0DD left | Tools | 33
A9B10050687 | Twin lifting bracket f gen. 3,0DD right | Tools | 33
A9B10050850 | A9B10050850 | Tools | 6
A9B10051087 | Lifting bracket f. towers, NG2 | Tools | 9
A9B10051481 | Roundsling 50mt 25m/50m | Tools | 11
A9B10051547 | Feet- Tower stacking system | TEQ | 19
A9B10051549 | High Frame - Tower stacking system | TEQ | 39
A9B10051574 | Chain Sling F Gear 3.6MW Hansen | Tools | 65
A9B10052179 | Turner system 3.0MW DD 110V 50HZ | Tools | 16
A9B10053375 | ELEFANTFOOT FOR HUB, 48 Holes | Tools | 262
A9B10053541 | ITH Tensioner M42x3 DIN 976 70MM | Tools | 35
A9B10053667 | Adjustment of yaw and MET mast direction w GPS | Tools | 10
A9B10054241 | Technician Bag, size XXL offshore | Tools | 10
A9B10054242 | Technician bag, size XXL onshore | Tools | 9
A9B10054594 | Tools for change of generator on 2.3mw | Tools | 21
A9B10054870 | Scanner for RFID | Tools | 20
A9B10055039 | OBSOLETE - Do not use! Grease extract mainB DD Tubine 230v | Tools | 49
A9B10055550 | Lifting Yoke for single blade installation - HUDSON | Tools | 1796
A9B10055606 | Spareparts Container for HUDSON Blade Yoke | Tools | 492
A9B10056151 | Lifting bracket 40 T | Tools | 8
A9B10057172 | Ladder left steel | TEQ | 2
A9B10057173 | Ladder right steel | TEQ | 2
A9B10057298 | 8' CONTAINER F MOUNTING/ERECTING TURBINE | Tools | 31
A9B10057299 | MEASUREMENT TOOL FOR 8' CONTAINER | Tools | 35
A9B10057393 | OBSOLETE - Do not use Grease extract, mainbearing, DD turbine | Tools | 49
A9B10057686 | Casting Template Comp. 280x48-01 | Tools | 71
A9B10058276 | Transport f. tower, D3500 | TEQ | 14
A9B10058325 | Bolt M30x600 10.9 ISO4014 tZn | TEQ | 1
A9B10058941 | Tools for assembling rig | Tools | 35
A9B10059037 | Hybrid Wind Diesel Test & Service Unit 6 | Tools | 5918
A9B10059038 | Test Load Unit 3,000kW | Tools | 381
A9B10059595 | Assembly rig for shelltower | Tools | 4469
A9B10059626 | Alignment tool for generator 3.6MW | Tools | 25
A9B10059687 | IRIS LIFTING YOKE | Tools | 6314
A9B10060196 | Transport leg for 2,3/3,0DD, V3 | TEQ | 40
A9B10060196/A9B10060198/A9B6010060200 | Trans.leg DD | TEQ | 27
A9B10060198 | Lift. brac. f. trans. leg, 2,3/3,0DD, V3 | TEQ | 8
A9B10060200 | Platform f. trans. leg, 2,3/3,0DD, V3 | TEQ | 2
A9B10061331 | Turning bracket compl. f hub SWT-6.0-154 | Tools | 146
A9B10061392 | Delta Sharing Diagnostic tool | Tools | 25
A9B10061403 | Casting Template Comp. 216x48-01 | Tools | 52
A9B10061434 | Casting Template Comp. 160x42-01 | Tools | 37
A9B10061842 | Ø 5000 cover for lift bracket | Tools | 50
A9B10062358 | Casting Template Comp. 120x42-01 | Tools | 35
A9B10062359 | Casting Template Comp. 200x42-01 | Tools | 35
A9B10062360 | Casting Template Comp. 200x42-02 | Tools | 44
A9B10062427 | Delta Wagon | Tools | 7
A9B10062610 | Tools f change. Gaskets, Yaw breake 3.6 | Tools | 34
A9B10063245 | El Chain Hoist EKZ-STAR LIFTKET-chain113 | Tools | 31
A9B10064017 | Storage foot f. B52/B58 | TEQ | 28
A9B10065337 | Blade root wire, bracket | Tools | 23
A9B10066021 | Lifting Bracket | Tools | 7
A9B10066321 | Tool for rotation of hub 2 | Tools | 89
A9B10066572 | Top barrel elephant foot 2.3/3.0DD | Tools | 621
A9B10066574 | E. foot SWT 2,3 - 2,3/3,0 DD w.o. barrel | Tools | 493
A9B10066622 | Lifth.40Tm/telescope adj.min 4,5m/max 8m | Tools | 44
A9B10066623 | wiresling 48mm 5,7 mtr.WII 40T | Tools | 25
A9B10067191 | Roundsling WLL 75T 6m/12m | Tools | 7
A9B10067346 | Lifting PU, PU-SiCS, TU SWT 3.0DD | Tools | 17
A9B10067364 | Roundsling 25mt. 6.2m/12.4m | Tools | 2
A9B10067519 | Lift. Cooler transportframe SWT 2.3-3.0D | Tools | 2
A9B10067547 | Safety Equipment Container | Tools | 600
A9B10067592 | Lifting NG2 Nacelle | Tools | 20
A9B10068077 | Hub turner 2.3MKIII-2.3/3.0MW DD trans. | Tools | 253
A9B10068294 | Spareparts container for Iris blade yoke | Tools | 763
A9B10069738 | Lifting/Tools Con for transp 2.3 - 3.0DD | Tools | 169
A9B10069934 | Support leg for root end B63 | TEQ | 7
A9B10070035 | Tools for change of pitch cylinder 3.0DD | Tools | 28
A9B10071115 | Snug shear wrench M22 | Tools | 34
A9B10071116 | Snug shear wrench M27 | Tools | 59
A9B10071213 | Capstan winch complete, 10kN WLL | Tools | 95
A9B10071397 | SWP First Aid Kit incl Heart Si. PAD500# | Tools | 9
A9B10072027 | Lift of 1 segment - Shell tower | Tools | 1
A9B10072036 | Lifting kit for reloc MAU- shell tower | Tools | 70
A9B10072039 | Tools for foot segment - shell tower | Tools | 55
A9B10072576 | Hydraulic alignment tool for tower - Use A9B10077249 - universal tool instead | Tools | 184
A9B10072607 | Root frame support 600 mm B49 B52 B53 B55 B58 | TEQ | 14
A9B10072610 | Winch 150M Complete | Tools | 32
A9B10072782 | Ext Diesel Tank 1.000Ltr ADR/IBC -OBS | Tools | 33
A9B10072829 | Washer M36 300-ST ISO7090 tZn | Tools | 1
A9B10073123 | Hydraulic station for Cross-Bar for SBM | Tools | 101
A9B10073238 | Cable kit for generator | Tools | 13
A9B10073464 | Paint IR dryer 220-240V 1KW 50Hz > | Tools | 10
A9B10073863 | Roundsling 40mt. 3.5m/7m | Tools | 2
A9B10074614 | Plarad Elec Nutrunner 1½" Square 3500Nm | Tools | 69
A9B10074726 | Dyneema sling WLL120T 7m w double eye | Tools | 56
A9B10074734 | Replacement of transformer 2.3MW CS | Tools | 115
A9B10075174 | SICS Hub Service Tool SICS-HST | Tools | 16
A9B10075469 | Tools set service Powerclimber lift | Tools | 41
A9B10075523 | Casting Template Comp. 280x48-02 | Tools | 52
A9B10075539 | Lifting bracket WLL100, Q4812mm, 92 pcs | Tools | 65
A9B10075571 | Webbing sling 20m WLL 60MT (belt sling) | Tools | 23
A9B10075811 | Descend unit w/o hois 150m FI seal Milan | Tools | 8
A9B10075885 | Traverse, LG1750 SL12D2FB 136,5+21, Hub Height = 122,5m | Tools | 386
A9B10075887 | Traverse, LG1750 SL7DHS 143,5+6, HH115 | Tools | 368
A9B10076298 | Steam Cleaner F Site | Tools | 64
A9B10077148 | Trans. Console f. Nac. housing 2.3/3.0DD | TEQ | 15
A9B10077468 | Lift. bracket 60T for Q2920, Q33, 116pcs | Tools | 25
A9B10077479 | ITH Tensioner 42X4,5 Nv 65 with long spa | Tools | 30
A9B10078013 | Jupiter Tip Clamp B55 | TEQ | 32
A9B10078014 | Jupiter Root Frame Ass | TEQ | 40
A9B10078015 | Jupiter Tip frame | TEQ | 24
A9B10078016 | Jupiter Installation Foot | TEQ | 7
A9B10078171 | Descend unit w/hoist 150m DE seal Milan | Tools | 10
A9B10078558 | Buffer station, Alpha | Tools | 153
A9B10078768 | Tarpauline kit for MAU | Tools | 34
A9B10078777 | Hand shear wrench F-30 M27 | Tools | 8
A9B10078876 | Repl of SICS reactor 2.3DD-3.0DD 230V | Tools | 77
A9B10079365 | Jupiter tip bridge fitting | TEQ | 5
A9B10079375 | Jupiter root bridge fitting | TEQ | 2
A9B10079377 | Jupiter Tip clamp - B53 - assembled | TEQ | 22
A9B10079537 | Jupiter pipe mounting | TEQ | 2
A9B10079913 | Roundsling WLL=200MT 8m/16m Extr/Magn-X | Tools | 183
A9B10081255 | Harness Kit Skylotec size M-L | Tools | 7
A9B10081256 | Harness Kit Skylotec size L-XXL | Tools | 7
A9B10081642 | EASY GREASE COMPLETE 110V VERS.3 | Tools | 30
A9B10081643 | EASY GREASE COMPLETE 230V VERS.3 | Tools | 30
A9B10082110 | Roundsling 60MT 5,5m/11,0m | Tools | 6
A9B10082987 | Transport frame for D3 generator “Ursus” | TEQ | 163
A9B10083405 | Tools service Avanti lift | Tools | 46
A9B10084820 | Complete spineboard (Rescue kit) | Tools | 6
A9B10084967 | Sea Stretcher With Lift Strap`s v2 | Tools | 7
A9B10085370 | Liftra Bolt M30X780 10.9 Iso4014 Tzn | TEQ | 1
A9B10085531 | Liftra Bolt M30X500 10.9 Iso4014 Tzn | TEQ | 1
A9B10085542 | Hyd Wrench MSXT20TF reac arm w PU sole | Tools | 53
A9B10086349 | Tools for replacement of Generator | Tools | 398
A9B10086830 | Green Pin Super Shackle G-5263 WLL 85T | Tools | 5
A9B10086854 | Roundsling WLL=65MT 6,7m/13,4m | Tools | 5
A9B10086937 | Brady lead authorized kit | Tools | 5
A9B10087604 | Lifting bracket WLL 36.1MT, R1663-100 | Tools | 31
A9B10088078 | Roundsling WLL15t 9m/18m | Tools | 3
A9B10089086 | Stamaasen root support | TEQ | 16
A9B10090214 | Measurement kit coat thickness on steel | Tools | 18
A9B10090843 | IMPACT SPAN. ACCU. HITACHI 14.4v WR14DBL | Tools | 3
A9B10091809 | Lifting bracket WLL 60MT, R2027.5-96 | Tools | 48
A9B10092144 | REPLACEMENT OF PITCH CYL 2,0MW-2,3MW CS | Tools | 19
A9B10093262 | Yalelift 360 chain hoist WLL=10MT L=1,7m | Tools | 10
A9B10093429 | Turner system DD22 1x110V, 50Hz | Tools | 74
A9B10094908 | Elec. Nutrunner DEA47 TSX 110V 50 Hz | Tools | 62
A9B10094909 | Lifting bracket WLL 40MT, R1659-100 | Tools | 19
A9B10094976 | EXTREEMA PROTECTION FOR WLL 65T TO 80T | Tools | 2
A9B10095111 | Lifting bracket WLL 60MT, R1665-96 | Tools | 20
A9B10095613 | Yaw Box 2.3/3.0DD | Tools | 8
A9B10096160 | Descend Unit 85M A-29 | Tools | 9
A9B10096174 | Descend Unit 105M A-29 | Tools | 9
A9B10096275 | Mounting bar | TEQ | 2
A9B10097223 | Liftra M-Lock Large | TEQ | 2
A9B10097224 | Liftra M-Lock Small | TEQ | 1
A9B10098400 | Lifting bracket WLL 52MT, R1890-120 | Tools | 17
A9B10098529 | Soft grabber WLL 90T w shackle & sling | Tools | 104
A9B10099065 | ALUMINIUM SHELLE SET FOR B63-00 | Tools | 142
A9B10099238 | Ladder Hanger WLL 150 kg | Tools | 6
A9B10099574 | Power drill A-029-G set complete | Tools | 6
A9B10099931 | Brace for tarpaulin 3MW | TEQ | 1
A9B10100369 | Lifting bracket WLL 60MT, R1874-110 | Tools | 14
A9B10102449 | Pump station f turning the mainbearing # | TEQ | 33
A9B10102741 | Bracket for Loher generator 2.3 MW | Tools | 109
A9B10102756 | Blade Clamper f. demounting B40 – B58 | Tools | 219
A9B10102988 | Casting Template Comp. V10-M42x200 | Tools | 43
A9B10103379 | Transport frame f. drive train 4.0/3.6 | Tools | 388
A9B10103612 | Casting Template Comp. 200x42-03 | Tools | 76
A9B10104079 | Lifting 2,3/3,0DD generator frame | Tools | 583
A9B10104080 | Lifting/upending 2,3/3,0DD generator | Tools | 2550
A9B10104910 | Lifting tool f holding device | Tools | 4
A9B10105091 | Parts for dismounting of rotor 3.0 DD | Tools | 43
A9B10105186 | Tools f change of pitch cylinder | Tools | 57
A9B10105189 | Tools f hydraulic pump unit | Tools | 40
A9B10105190 | Tools f yaw gears | Tools | 42
A9B10105211 | IR6310545477 EQ 2083 1pc A9B10105211 Tools f changing | Tools | 101
A9B10105212 | Tools f changing radial claw | Tools | 26
A9B10105213 | Tools f changing yaw claw | Tools | 88
A9B10105214 | Tools f changing main breaker A24/AA24(SICS) | Tools | 49
A9B10105216 | Tools f cooler on top of nacelle | Tools | 98
A9B10105217 | Tools f delta modules; Sharring reactors and MB in A12 | Tools | 82
A9B10105219 | Tools f main transformer | Tools | 82
A9B10105220 | Tools for reactor/switch gear exchange 2.3/3.0 MW | Tools | 52
A9B10105241 | Lifting tools for IM sharing reactor MCB | Tools | 39
A9B10105242 | Tools for multivolts trafo | Tools | 36
A9B10105243 | Reactor kit | Tools | 116
A9B10105416 | Roundsling MagnumX, WLL 17.5mt, 2.5/5m | Tools | 4
A9B10105513 | Axzion Tap Bracket kit 210mm WLL35mt | Tools | 17
A9B10105514 | Axzion Tap bracket Kit 240mm, WLL35mt | Tools | 34
A9B10107225 | Replacement of blade bearing 2.3 | Tools | 104
A9B10107493 | Lift/upending 2.3/3.0DD generator DD22 (med huller) | Tools | 333
A9B10108010 | Axzion Upending Kit WLL 140mt | Tools | 525
A9B10108083 | Hose set Hubturner | Tools | 4
A9B10110211 | Lift bracket 62T f Q4275, Q51, 124pcs | Tools | 24
A9B10110395 | Trans eq D3 generator “Pontos” | TEQ | 113
A9B10110396 | Lift eq D3 generator "Pontos" | TEQ | 14
A9B10110397 | Dehumidifier assembly "Pontos" | TEQ | 5
A9B10110449 | Lifting bracket WLL 55/30MT, R1874-108 | Tools | 13
A9B10110882 | Zero Energy Kit EMEA, UK&IRE,APAC | Tools | 5
A9B10111254 | Elec.Tools f. Gen Change 110v 2.3/3 0DD | Tools | 59
A9B10111255 | 220v Elec. Tools f. Gen. Change 2.3/3.0DD | Tools | 56
A9B10112176 | Tool f.replac.of accumulator 3.0DD comp. | Tools | 37
A9B10112425 | Tools for replace. of reactor fan 3.6mw | Tools | 24
A9B10112648 | Lifting bracket WLL 53MT, R1891.5-108 | Tools | 26
A9B10112649 | Tension test tool for A9B10112648 | Tools | 35
A9B10112650 | Lifting bracket WLL 60MT, R1872.5-100 | Tools | 19
A9B10112821 | Tension test tool for A9B10112650 | Tools | 33
A9B10113764 | Roundsling Magnum-X WLL=200MT 6m/12m | Tools | 138
A9B10114040 | TorqueWrench Hydr.f Cass.w swirvelSx2Tst | Tools | 26
A9B10114043 | PLARAD CASSETTE 55MM HSX255F | Tools | 18
A9B10115158 | Integral hydraulic flange align tool 15t | Tools | 46
A9B10115159 | Battery nutrunner 50-900 Nm w/2 reac arm | Tools | 26
A9B10115311 | Kit for lifting and rotating B53 Jupiter | Tools | 16
A9B10115751 | METRIC B-RAD 2000-2 | Tools | 30
A9B10115846 | Descend Unit 105M A-29 | Tools | 7
A9B10116237 | 2-leg chain WLL=26.5MT /leg L=4.9 short | Tools | 40
A9B10116397 | Load tester tool set for Skyman | Tools | 24
A9B10124041 | Lifting bracket WLL 45MT, R1650-100 | Tools | 29
A9B10124043 | Lifting bracket WLL 47MT, R1879,5-116 | Tools | 11
A9B10124045 | Lifting bracket WLL 42MT, R1667-112 | Tools | 15
A9B10124413 | Jupiter return transport foot | TEQ | 6
A9B10124827 | Complete Act Safe - 200m # | Tools | 94
A9B10125084 | ROUNDSLING MAGNUM-X WLL=100MT 3m/6m | Tools | 38
A9B10125385 | Blade LPS test set | Tools | 50
A9B10125718 | Jupiter Tip clamp – B63 | TEQ | 28
A9B10125769 | Lifting bracket WLL 50MT, R1885-96 | Tools | 34
A9B10127154 | Lifting bracket WLL 65/30 MT, 3290-96 | Tools | 18
A9B10127156 | Lifting bracket WLL 65/30 MT, 3760-110 | Tools | 18
A9B10127158 | Lifting bracket WLL 45/25MT, 3579-96 | Tools | 21
A9B10127160 | Lifting bracket WLL 37/18MT, 3331-92 | Tools | 25
A9B10127212 | Lifting bracket WLL 54/27MT, 3780-112 | Tools | 20
A9B10127214 | Lifting bracket WLL 55/26MT, 3754-110 | Tools | 18
A9B10127284 | Casting Template Comp. V11-M42x252 | Tools | 77
A9B10127288 | Casting Template Comp. V12-M42x224 | Tools | 35
A9B10127330 | Kit, slide, pitch cyl, 2.3 MW | Tools | 30
A9B10127392 | Blade platform FF360 Basic | Tools | 2739
A9B10127595 | Lifting bracket WLL36MT R1665-100 | Tools | 11
A9B10127597 | Lifting bracket WLL 23/48 MT R1890.5-124 | Tools | 10
A9B10127599 | Lifting bracket WLL 57MT R1870-100 | Tools | 10
A9B10127668 | ROUNDSLING MAGNUM-X WLL=80MT 7,4m/14,6m | Tools | 73
A9B10127681 | Lifting bracket WLL 37MT R1270-90 | Tools | 12
A9B10129501 | Lifting bracket WLL 25/13 MT, 3327-108 | Tools | 13
A9B10129503 | Lifting bracket WLL 51/25 MT, 3748-108 | Tools | 13
A9B10129519 | II-Step-up transformer 400/690V 120KVA | Tools | 72
A9B10131600 | Elec. tools f. MB near site 2.3-3.0 110V | Tools | 35
A9B10131611 | Elec. tools f. MB near site 2.3-3.0 220V | Tools | 23
A9B10138442 | Turbolence abs. 6.0 complete | Tools | 87
A9B10138720 | Handtool f comp exchange | Tools | 16
A9B10138846 | Tool f.replace.main bearing near site3.0 | Tools | 962
A9B10139639 | Lifting bracket WLL 46/23 MT, R1663-100 | Tools | 11
A9B10139721 | Lifting bracket WLL 47/25 MT, R1888-124 | Tools | 11
A9B10139741 | Bracket f. Blade tip Fenrir B49 pos30 | TEQ | 21
A9B10139745 | Frame, “Kale” B49 pos. 30m | TEQ | 39
A9B10139747 | Turning cylinder D3 w bracket and hoses | TEQ | 4
A9B10139836 | Change of Gearbox Hansen/Winergy 2.3MW | Tools | 76
A9B10139837 | Nac_Snag 3,6_4,0MW Pre_ass 110/220V | Tools | 40
A9B10140248 | Alu shells set B40 for Georgia | Tools | 109
A9B10143409 | Lifting bracket WLL 47/27 MT, 2540-90 | Tools | 9
A9B10143410 | Lifting bracket WLL 61/31 MT, 3979-100 | Tools | 14
A9B10143451 | Lifting bracket WLL 45/24 MT, 3317-100 | Tools | 14
A9B10143666 | Lift. bracket f D3.3 generator | Tools | 25
A9B10143745 | Trans frame f SWT3.3-130 nacelle, assy | TEQ | 57
A9B10143747 | Nacelle lift.trunnion D3.3-130 | Tools | 45
A9B10144661 | Lifting yoke kit set f 20' container | Tools | 65
A9B10144778 | LIFTRA M-LOCK 40 - 110mm | TEQ | 2
A9B10145761 | Trans. Frame 3,3 | TEQ | 54
A9B10145797 | TU 3,6_4,0MW Pre_ass | Tools | 19
A9B10145835 | LPS retrofit receptor kit | Tools | 32
A9B10145836 | LPS base kit | Tools | 14
A9B10145837 | LPS root retrofit with bolt | Tools | 24
A9B10145838 | LPS root retrofit with Cover | Tools | 38
A9B10146023 | Aluminium shell set f B55 Georgia yoke | Tools | 126
A9B10146110 | Lifting bracket WLL 69/24 MT, 2540-90 | Tools | 32
A9B10146292 | Lifting bracket WLL 29/16 MT, 4355-88 | Tools | 16
A9B10146331 | Lifting bracket WLL 60/30 MT, 3760-96 | Tools | 13
A9B10146333 | Lifting bracket WLL 70/35 MT, 3732-108 | Tools | 13
A9B10146941 | Vario J-Hook 90T, EN13155 | Tools | 239
A9B10147151 | Lifting/Rotation kit for B49 w Ariel | Tools | 9
A9B10147608 | Spreader bar OX-SB-170 5,5m w/shackles | Tools | 83
A9B10147669 | Tool for Winergy IMS exchange complete | Tools | 123
A9B10148116 | Cable AX01-W230/+AX01-W233 turner tool | Tools | 94
A9B10148122 | Cable +AB11-W5246 turner tool | Tools | 77
A9B10149483 | Extraction tool f pitch bearing assembly | Tools | 11
A9B10152222 | Lifting bracket WLL 33/16MT, 3322-100 | Tools | 14
A9B10152226 | Lifting bracket WLL 61/30MT, 3744-100 | Tools | 27
A9B10154421 | Lift/Rotation kit f B53 w Ariel/Fenrir | Tools | 20
A9B10154681 | Transp. foot f tower, Ø2700 retrofit 2 | TEQ | 12
A9B10154918 | Triangular liftg bkt WLL 64MT, D2720-110 | Tools | 7
A9B10154920 | Lifting bracket, WLL 65/35 MT, 2720-110 | Tools | 51
A9B10154934 | Wedge for Odin system | TEQ | 21
A9B10155008 | Transport foot f tower D2700 Retrofit 3 | TEQ | 13
A9B10155009 | Transp foot f tower D4200/D3960 retrofit | TEQ | 13
A9B10155021 | Transport foot f tower, Ø2380, retrofit | TEQ | 7
A9B10155032 | Plarad Moment Tool MXEC155TS | Tools | 153
A9B10155033 | Torque wrench 20.000 Nm | Tools | 46
A9B10155135 | Casting Template Comp. V13-M42-200 | Tools | 43
A9B10155608 | Lifting and rotating B55 Jupiter Kit | Tools | 15
A9B10156137 | Receptor chamfer tool kit | Tools | 60
A9B10156361 | Lifting bracket WLL 25/15 MT, 3341-96 | Tools | 11
A9B10156363 | Lifting bracket WLL 40/24 MT, 3795-112 | Tools | 19
A9B10156365 | Lifting bracket WLL 51/30 MT, 3771-108 | Tools | 20
A9B10156367 | Tower cradle, wood, D3500 | TEQ | 6
A9B10156368 | Tower cradle, wood, D3960 | TEQ | 6
A9B10156369 | Tower cradle, wood, D2700 | TEQ | 6
A9B10156370 | Tower cradle, wood, D4500 | TEQ | 7
A9B10156870 | Press tool, compl # | Tools | 50
A9B10156872 | Lifting bracket WLL 39/25 MT, 2540-90 | Tools | 18
A9B10162179 | Trans frame f hub SWT D3.3-130(Retrofit) | TEQ | 67
A9B10162291 | Tower cradle wood, D2956, 50MT | TEQ | 11
A9B10162525 | IR6310511629 EQ 2084 5pcs A9B10162525 Generator 100KV | Tools | 302
A9B10162658 | Transformer in lift frame 40kVA 690/400V | Tools | 71
A9B10163409 | Tools f. Repair of cables, G2, G4 (230V) | Tools | 13
A9B10163502 | Hub guide bracket for 3.3DD | Tools | 4
A9B10163713 | Lifting cylinder WLL=30T | Tools | 66
A9B10164047 | Anchor point set f 3.6 MW | Tools | 86
A9B10164127 | D3.3 nacelle lifting yoke complete | Tools | 1006
A9B10164200 | Pump station incl 24 VDC power pack HG | Tools | 184
A9B10164305 | Casting Template Comp. V17-M48-168 | Tools | 84
A9B10164501 | Lifting bracket WLL 40/21MT, 3790-80 | Tools | 17
A9B10164505 | Lifting bracket WLL 65/38MT, 4022-116 | Tools | 20
A9B10164506 | Lifting bracket WLL 65/39MT, 3966-104 | Tools | 16
A9B10164509 | Tension test tool f A9B10164506 | Tools | 28
A9B10164702 | Rocket bracket for D3.3-130 MKII Hub | Tools | 45
A9B10164735 | Lifting bracket, WLL 55/25 MT, 2540-90 | Tools | 18
A9B10164740 | Lifting bracket, WLL 50/25 MT, 3780-116 | Tools | 14
A9B10164901 | Technician tool kit f tower | Tools | 17
A9B10165182 | Technician tool kit f commissioning | Tools | 30
A9B10165339 | Tower cradle, wood, D5500, 65.7MT | TEQ | 28
A9B10165836 | Casting template compl V14-M42-160 | Tools | 43
A9B10165839 | Casting template comp. V19-M42-180 | Tools | 42
A9B10166404 | Sling, Extreema, WLL 80 t, EWL 5,5 m | Tools | 36
A9B10166405 | Sling, polyester, WLL 45 t, EWL 1,5 m | Tools | 1
A9B10166407 | Sling, polyester, 20 t, EWL 8,7 m | Tools | 2
A9B10166547 | Balance f hydraulic torque wrench | Tools | 545
A9B10166921 | Nacelle hook f. 3.3DD, WLL 69T | Tools | 119
A9B10168214 | Chain sling, 4-leg DNV 2.7.1 WLL 3,100kg | Tools | 5
A9B10168442 | Nacelle lifting kit w frame 2.3G | Tools | 26
A9B10169558 | Lifting bracket, WLL 79/33 MT, 2920-116 | Tools | 43
A9B10172494 | Lifting and rotating kit B63 | Tools | 21
A9B10173193 | Lifting and rotating kit f B40/B45 | Tools | 21
A9B10177161 | Nut runner type DA1-10, Plarad # | Tools | 33
A9B10178488 | Tools service crane HIAB/PALFINGER | Tools | 25
A9B10180601 | Access plate for A-frame | Tools | 24
A9B10181091 | Lifting bracket WLL 47/34 MT, 4311-84 R | Tools | 20
A9B10181092 | Lifting bracket WLL 47/34 MT, 4311-84 L | Tools | 20
A9B10182623 | Casting template 200x42-09 | Tools | 203
A9B10182624 | Casting template compl v24-M42-200 | Tools | 51
A9B10183644 | Hydr tool f tightening M56 bolt compl | Tools | 171
A9B10183645 | Counter wrench, LKS 2 insert 90 mm | Tools | 6
A9B10183647 | Hydr tool f tightening M64 bolt compl | Tools | 240
A9B10183651 | Roundsling Mag-X, 6.6m/13.2m WLL 100 MT | Tools | 57
A9B10183652 | RoundslingMag-X 12.6m/25.2m,WLL 120 MT | Tools | 116
A9B10184040 | Platforms for tower erection | Tools | 23
A9B10184102 | Spreader beam compl gen lift WLL110 L475 | Tools | 183
A9B10184108 | Spreader beam compl nac lift WLL50 L2000 | Tools | 57
A9B10184109 | Spreader beam compl nac/gen lift WLL70 | Tools | 100
A9B10184609 | Multitool f cutting cooling pipes | Tools | 8
A9B10184649 | Turbulence abs tower 4.0MW, 3 pcs of 27m | Tools | 55
A9B10184755 | Lifting br WLL33/24 MT, 3800/4350-100 L | Tools | 17
A9B10184756 | Lifting br WLL33/24 MT, 3800/4350-100 R | Tools | 17
A9B10184758 | Lifting br WLL 45/32 MT, 4080/4510-126 R | Tools | 19
A9B10184759 | Lifting br WLL 45/32 MT, 4080/4510-126 L | Tools | 19
A9B10184793 | Tap kit 35T, Axzion Vario | Tools | 29
A9B10184794 | Mounting kit (M36), Axzion Vario | Tools | 17
A9B10184795 | Mounting kit (M42), Axzion Vario | Tools | 18
A9B10184796 | Mounting kit (M48), Axzion Vario | Tools | 19
A9B10185948 | Mounting kit (M56), Axzion Vario | Tools | 19
A9B10186140 | Lifting bracket WLL 88MT, 5336-104 | Tools | 22
A9B10186233 | Mounting kit (M30), Axzion Vario | Tools | 17
A9B10187283 | Lifting bracket WLL 41/30 MT, 4350-112 L | Tools | 25
A9B10187284 | Lifting bracket WLL 41/30 MT, 4350-112 R | Tools | 25
A9B10188789 | Casting template compl v25-M48-200 | Tools | 32
A9B10189574 | PU/TU lifting kit 3.2 MW, new concept | Tools | 11
A9B10190065 | Vortex mill, motorized, 4.0 MW | Tools | 793
A9B10190214 | Balance f hydr torquewrench plarad compl | Tools | 79
A9B10191067 | Nacelle lift. Bracket D3.3-130 | Tools | 13
A9B10191260 | A-frame tower mover 100 t | TEQ | 954
A9B10191319 | Tensioner M48x5 AF80mm with spacer compl | Tools | 43
A9B10191481 | A-frame tower mover 130 t | Tools | 954
A9B10191542 | Trans frame f gen w drawer 3.3DD, assy | TEQ | 12
A9B10192281 | Bolt block 2 f. gen trans 3.3DD | TEQ | 2
A9B10192282 | Bolt block f. gen trans 3.3DD | TEQ | 2
A9B10194411 | Generator front support - D3.3 | TEQ | 48
A9B10194656 | Roundsling MagnumX WLL50T, 25/50m | Tools | 115
A9B10195376 | Front supp. f. Gen 3.3DD w. storage foot | Tools | 46
A9B10196434 | Tools f erecting turbine 3.3MW 230V | Tools | 160
A9B10197637 | Cover f tower D3960-4300 | Tools | 27
A9B10197721 | Adapter plate f hub assy | Tools | 145
A9B10197750 | Protection rails f SU & TU & PU | Tools | 74
A9B10197788 | Hub platform for SBM | Tools | 18
A9B10198014 | Nacelle transport frame 2.3-120- Assem | Tools | 452
A9B10198134 | Tower cradle wood, D2392 | TEQ | 7
A9B10198135 | Tower cradle wood, D4200 | TEQ | 7
A9B10198565 | Bolt gripper w tackle and wire compl | Tools | 84
A9B10198689 | Pitch Pump Pressure Control Box | Tools | 13
A9B10199745 | Blade clamper f rotor B40 - B63 complete | Tools | 200
A9B10199746 | Blade clamper B40,B45,B49,B53 complete | Tools | 47
A9B10199747 | Blade Clamper B40,B45,B49,B53,B55 compl. | Tools | 217
A9B10200412 | Cable well tool set, complete | Tools | 26
A9B10200449 | Cable well plug, complete | Tools | 9
A9B10200513 | Chain sling | Tools | 32
A9B10200875 | Cyl + brackets f turner tool 3.3 | TEQ | 16
A9B10200876 | Power pack f turner tool 3.3 | Tools | 86
A9B10201287 | Booster unit, N2B (nitrogen top-up) | Tools | 208
A9B10201288 | Charger unit, N2B (nitrogen top-up) | Tools | 89
A9B10201327 | Trnsp foot f tower D4200/D3960 Retrofit2 | TEQ | 6
A9B10201632 | Fluke, 1550C KIT | Tools | 27
A9B10201713 | Hook assy f upend gen D6/D7 | Tools | 384
A9B10202286 | Blade Foot | TEQ | 78
A9B10202758 | Bolt magazine M64 bolts complete | Tools | 258
A9B10203938 | Tripod f. generator, D3.3 MKII | TEQ | 7
A9B10204069 | Rocket Bracket f Hub D3.3 | Tools | 110
A9B10204120 | Transport foot f tower, D2690 retrofit | TEQ | 19
A9B10204688 | Lift.equipm.container erection 3.3 MW DD | Tools | 1455
A9B10204689 | LiftingYoke f trans.frame 3.3MW hub comp | Tools | 66
A9B10205398 | PU/TU/SU lifting kit D3 MKll | Tools | 13
A9B10205453 | Transport frame f D3960-4300 tower cover | Tools | 3
A9B10205611 | Roundsling 30 mt, 7m/14m v2 | Tools | 3
A9B10205820 | Spread beam compl w shackl WLL 50T L5000 | Tools | 55
A9B10206274 | Shackle G-4163 WLL 55T v2 | Tools | 2
A9B10206315 | Main bearing exchange SWT3.3-103 | TEQ | 32115
A9B10206373 | Milan A-029 w Hoist triple 130m SP | Tools | 24
A9B10206582 | Transport foot f tower, D4450 retrofit | TEQ | 12
A9B10206823 | Transp foot f tower D2700 retrofit 4 | TEQ | 6
A9B10207096 | Lifting br WLL 40/25 MT, 3775/4285-100 R | Tools | 16
A9B10207097 | Lifting br WLL 40/25 MT, 3775/4285-100 L | Tools | 16
A9B10207630 | Blade belt for mounting on DinoTails | Tools | 4
A9B10207768 | Spineboard Kit Complete | Tools | 8
A9B10207803 | Tower cradle wood, D2700 | TEQ | 58
A9B10207804 | Tower cradle wood, D3735 | TEQ | 58
A9B10207805 | Tower cradle wood, D4300 | TEQ | 54
A9B10208286 | Orion - Blade foot complete f B63 | TEQ | 18
A9B1020833 | Tip Frame | TEQ | 163
A9B10208333 | Orion - Tip Frame | TEQ | 55
A9B10208487 | Fluke 1664FC installations tester | Tools | 8
A9B10209118 | Casting template compl v29-M42x200 | Tools | 44
A9B10209137 | Casting template compl v35-M42x240 | Tools | 58
A9B10210167 | Ext work platform f E-foot, complete | Tools | 153
A9B10210439 | LEP Factory coating field repair rental | Tools | 27
A9B10217324 | Roundsling 30mt. 10m/20m vs2 | Tools | 5
A9B10217325 | Tower feet – assembled Aries | TEQ | 21
A9B10217329 | Tower feet f T-flange – assy Aries | TEQ | 40
A9B10217433 | Nacelle lift f transport eqm | TEQ | 8
A9B10217439 | Blade Clamper B75 | Tools | 1355
A9B10217842 | Traction tool f spherical bearing 2.3MW | Tools | 19
A9B10217922 | Lifting/Tools Con for transp D3.3 MK2 | Tools | 290
A9B10217924 | Cover f tower D2380-2956 | Tools | 61
A9B10218189 | Lifting bracket WLL 42/72 MT, 5341-84 | Tools | 19
A9B10218732 | Support-Hydr. Tool f. tightening yaw | Tools | 10
A9B10219128 | Casting template compl v32-M42x200 | Tools | 70
A9B10219305 | Milan A-029 w/hoist double 120m SP | Tools | 3
A9B10219328 | Plarad moment Mxec75Ts w multi swirvel | Tools | 53
A9B10219381 | Casting template compl v31-M42x200 | Tools | 81
A9B10219613 | M-lock XL - with bolts | TEQ | 2
A9B10219617 | Ladder bracket nacelle rear SWT-3.3 Assm | Tools | 1
A9B10219695 | Zero energy kit EMEA | Tools | 5
A9B10220098 | LPS cable to block kit | Tools | 60
A9B10220432 | Transp foot for tower, D2700-2 | TEQ | 8
A9B10220845 | Casting template compl v38-M42x160 | Tools | 79
A9B10221200 | Press tool Elpress compl | Tools | 39
A9B10221223 | FAS M64, flange 120-170, complete set | Tools | 44
A9B10221547 | Scaffold Jumbo complet | Tools | 9
A9B10222548 | Hilti Stud mounting tool kit # | Tools | 8
A9B10224047 | Casting template compl v30-M42x200 | Tools | 35
A9B10224594 | Rotor lifting br. f SWT 3.3-130/142 Hub | Tools | 50
A9B10224627 | Impact Wrench 3/4" 600 Nm Hitachi 230V | Tools | 4
A9B10224811 | Sling Selantic SD700-10000 WLL100 10/20m | Tools | 56
A9B10225734 | Transport foot f tower D2700 retrofit 5 | TEQ | 8
A9B10226224 | Alushell B63-10 | Tools | 71
A9B10226287 | Casting template corrpl v40-M42x200 | Tools | 21
A9B10226984 | Yoke for tilt & Turn of B63_B69 Kelly | Tools | 9189
A9B10227192 | Roundsling Dyneema WLL100MT 7.98/15.95m | Tools | 48
A9B10227193 | Nacelle yoke compl 6T WLL 150T D3 MkII | Tools | 1149
A9B10227273 | Casting template compl v36-M42x200 | Tools | 130
A9B10227647 | Generator hook D7, fits w rotor hanger | Tools | 421
A9B10228651 | Yaw ring lifting device | Tools | 13
A9B10228657 | Root support, B63/B69 | Tools | 70
A9B10228835 | Webbing-sling 9mx480mm | Tools | 7
A9B10228840 | Webbing-sling 19.5mx480mm w. polyure | Tools | 22
A9B10229288 | TK FA LFT WIRE LOWERING FOR LIFT COMPL | Tools | 4
A9B10229313 | Step down transformer 4kVA, 690-400V | Tools | 21
A9B10229317 | Transport foot f. tower, D3960 retrofit | TEQ | 8
A9B10229320 | Transport foot f tower D4500-2 | TEQ | 8
A9B10229647 | Chain hoist 60kg 3m 230V 50Hz customised | Tools | 26
A9B10230620 | Hub transport frame retrofit | TEQ | 1
A9B10231310 | Transport foot f. tower D4450 Retrofit2 | TEQ | 12
A9B10231659 | Main breaker AA1001/AA1002 exchange | Tools | 21
A9B10231692 | Orion - Support foot, assy | TEQ | 17
A9B10231696 | Orion - Root frame B63, assy | TEQ | 63
A9B10231981 | Chain hoist Kito CX 0,5 | Tools | 4
A9B10232045 | Transp foot Ftower, D4200/D3960 Retrofit3 | TEQ | 8
A9B10232046 | Transp foot Ftower, D4200/D3960 Retrofit4 | TEQ | 12
A9B10232047 | Transport foot f. tower, D4450 Retrofit4 | TEQ | 17
A9B10232307 | 2-leg chain w/sh 4m GR10 WLL=10/14MT | Tools | 7
A9B10232315 | Orion - Tip clamp, assy | TEQ | 70
A9B10232684 | Inspection kitset 72h/240h D3 110V | Tools | 50
A9B10232736 | Inspection kitset 72h/240h G2 220V | Tools | 39
A9B10232737 | Inspection kitset 72h/240h G2 110V | Tools | 40
A9B10232742 | Inspection kitset 72h/240h D3 220V | Tools | 48
A9B10232931 | Root church Orion | TEQ | 2
A9B10232932 | Orion - Tip foot for welding | TEQ | 1
A9B10235969 | Traverse f TC/CC2800 | Tools | 307
A9B10236101 | Transport foot f tower, D3960 Retrofit2 | TEQ | 13
A9B10236102 | Transp foot f tower D4200/D3960Retrofit5 | TEQ | 13
A9B10236103 | Transport foot f tower, D4450 Retrofit3 | TEQ | 8
A9B10236106 | Hydraulic pump f pitch 225L 7,5KW 400bar | Tools | 145
A9B10236148 | Root Interface B63, assy Orion | TEQ | 41
A9B10237415 | Rocket-bracket for D3-MKII SBI | Tools | 35
A9B10237480 | Root frame B69 Ass | TEQ | 120
A9B10237554 | Return frame Root equipment Orion | TEQ | 35
A9B10237701 | Tip frame B69 assembled | TEQ | 120
A9B10238418 | Mold for Orion rubber pads | TEQ | 74
A9B10238685 | Root frame foot, assy Orion | TEQ | 3
A9B10238953 | Generator 2-point lifting frame | Tools | 143
A9B10239002 | Extended generator fixture, fixturlaser | Tools | 4
A9B10239071 | Trailing edge protection tip end B69 | Tools | 225
A9B10239072 | Leading edge protection B69 | Tools | 225
A9B10239073 | Trailing edge protection root end B69 | Tools | 225
A9B10239078 | Life jacket PV9361 with MOB1 PLB + bag | Tools | 4
A9B10239368 | Generic blade bear | Tools | 2559
A9B10239813 | Tower foot, D2956 | TEQ | 21
A9B10240001 | Transp. Foot for tower, D2700-2 Retrofit | TEQ | 10
A9B10240363 | Traverse Interface Terex DEMAG CC3800 Crane | Tools | 253
A9B10240371 | Bolt magazine M64 w foam and tarpaulin | Tools | 140
A9B10240475 | Transport foot f. Tower, D3960 Retrofit3 | TEQ | 10
A9B10240589 | Tools f erect 2.3/3.0 220V/110V SWP SPEC | Tools | 80
A9B10240625 | Tools F Mount 2.3/3.0 220V SWP SPEC | Tools | 25
A9B10240626 | Container 8' f mount/erect SWP SPEC | Tools | 110
A9B10240712 | VG protector f B69 | Tools | 13
A9B10241570 | Lifting bracket WLL 40/25 MT, 4072-68 | Tools | 12
A9B10241623 | Foundation drilling template D3 mkII R18 | Tools | 118
A9B10241762 | Impactspan accu Hitachi 18v 2batt/1char# | Tools | 3
A9B10242257 | Equipment B69 for Rotor Yoke 20T | Tools | 158
A9B10243451 | Lift pad 42/31 WLL MT, 3775/4285 100 L | Tools | 14
A9B10243452 | Lift pad 42/31 WLL MT, 3775/4285 100 R | Tools | 27
A9B10244014 | PCT54C Cablecutter | Tools | 12
A9B10244051 | Act Safe excl. rope | Tools | 89
A9B10245195 | Tools f erection D3 MKII 220V SWP SPEC | Tools | 50
A9B10245817 | Lifting bracket, WLL 35/18MT, D2250-90 | Tools | 10
A9B10246484 | Lashing f Tower cover - 8 pcs. | Tools | 38
A9B10246553 | Harbor Yoke for D3 Generator compl | Tools | 105
A9B10246554 | Harbor Yoke for D3 Nacelle compl | Tools | 49
A9B10247038 | Rotor lift bracket f D3 MkII B63 SB | Tools | 195
A9B10247071 | Transp foot for tower, D2700-3 | TEQ | 14
A9B10247277 | Cable kit f generator D3MKII+MKI | Tools | 10
A9B10247285 | Lifting bracket for generator D3MKII | Tools | 95
A9B10247617 | Tackle 12,55T 8 m with Re and Exten.Cord | Tools | 67
A9B10247725 | ITH Tensioner M56x5,5 90mm assy # | Tools | 108
A9B10248092 | Lashing f Tower cover - 4 pcs | Tools | 19
A9B10248141 | Transport foot f tower D4450 Retrofit7 | TEQ | 8
A9B10248148 | Lifting and rotating kit Orion B63 | Tools | 44
A9B10249931 | Rigging f. 2.3 MW mkIII Yaw Ring lif | Tools | 9
A9B10249932 | Roundsling Dyneema WLL217,4T 3,91m/7,82m | Tools | 121
A9B10250410 | Cyl + bracket f turner tool D3 MK II R18 | TEQ | 41
A9B10251074 | Trans frame f SWT3.3-130nacelle assy v | TEQ | 173
A9B10251250 | Blade clamper B75 transp / lift kit 14T | Tools | 2005
A9B10251569 | Telescopic spreader beam, assy | Tools | 158
A9B10252343 | Lifting bracket WLL35/21 MT, 3356-60 | Tools | 10
A9B10252778 | Trnsp foot f tower D4200/D3960 retrofit7 | TEQ | 15
A9B10252847 | Static discharge kit D3 SBM | Tools | 8
A9B10254645 | Transp foot f tower D2700 retrofit 7 | TEQ | 13
A9B10254938 | Tools 220V f yaw ring/main bear.Repla.G2 | Tools | 57
A9B10255182 | Fall Arrest Stop Falcon v2 WITH < | Tools | 5
A9B10256900 | Sliding template assembly | Tools | 6
A9B10258723 | Platforms f D3/G2 tower erection, assy # | Tools | 9
A9B10258724 | Platforms f D3/G2 tower erection compl # | Tools | 40
A9B10259034 | Steel frame f tagline master 40kN | Tools | 517
A9B10259086 | Casting template compl v54-M42x240 | Tools | 52
A9B10259133 | Rotor Bracket f D3 MkII B63_B69 SBI | Tools | 554
A9B10261096 | Bolt block 3 f gen trans 3.3DD | TEQ | 7
A9B10262037 | Turner system D3 mk1 R17 230V 50Hz | Tools | 71
A9B10262038 | Turner system D3 mk1 R17 110V, 50Hz | Tools | 124
A9B10262184 | Receptor gen. 1 chamfer tool kit | Tools | 54
A9B10262376 | Univers ft 103MT 2170-4500+ M20-48 R4-6 | TEQ | 8
A9B10262797 | Telescopic spreader beam, complete | Tools | 257
A9B10263117 | HPU f turning ver2 190bar 230V 50Hz | Tools | 32
A9B10263118 | HPU f turning ver2 190bar 110V 50Hz | Tools | 29
A9B10263232 | Receptor chamfer tool kit vers. 2 | Tools | 52
A9B10263247 | Bushing kit M64 to M48 - L164 | Tools | 8
A9B10263248 | Bushing kit M56 to M42 - L95 | Tools | 8
A9B10263249 | Bushing kit M64 to M48 - L105 | Tools | 8
A9B10263250 | Bushing kit M64 to M56 - L120 | Tools | 7
A9B10263271 | Bushing kit M64 to M56 - L180 | Tools | 7
A9B10263272 | Bushing kit M64 to M56 - L134 | Tools | 7
A9B10263275 | Bushing kit M56 to M48 - L105 | Tools | 8
A9B10263276 | Bushing kit M64 to M48 - L130 | Tools | 7
A9B10263277 | Bushing kit M56 to M48 - L135 | Tools | 7
A9B10263640 | Special stock keeper tool kit | Tools | 14
A9B10263662 | PLARAD DA2-36 Batteri Nutrunner 360-3600 | Tools | 38
A9B10265183 | De-humidifier Cr80B compl D3 R19 | TEQ | 6
A9B10266573 | Blade bolt tool B69, assy | Tools | 22
A9B10268630 | Nacelle yoke 128MT D3MKII | Tools | 519
A9B10269115 | Lifting bracket WLL 55/29 MT, 4070-72 | Tools | 15
A9B10269572 | Gen 100 KVA config setup Onshore OBS | Tools | 184
A9B10270401 | Safety bracket for LM69 blade SBI | Tools | 2
A9B10270402 | Drilling templ f safety bracket SBI LM69 | Tools | 4
A9B10271116 | Lift br WLL 55/35 MT, 4600/5250-120L A | Tools | 18
A9B10271117 | Lift br WLL 55/35 MT, 4600/5250-120R A | Tools | 18
A9B10272872 | Casting template V50-M42x200 | Tools | 215
A9B10273167 | TAP kit 40T, Axzion Vario | Tools | 93
A9B10274789 | Univers ft 103MT 2170-4500+ M20-48 R4-5 | TEQ | 2
A9B10275263 | Winch system CIGS 26kN PLL complete | Tools | 1456
A9B10275565 | Lifting bracket, WLL 57/29 MT, 4073-60 | Tools | 10
A9B10275769 | Transp fr f tower cover D3960-4300 steel | Tools | 7
A9B10276037 | Transport frame for rotor bracket | Tools | 373
A9B10278781 | Lift br WLL 55/35 MT, 4130/4630-100L A | Tools | 8
A9B10278783 | Lift br WLL 55/35 MT, 4130/4630-100R A | Tools | 8
A9B10282406 | Lift br WLL 30/20 MT, 4140/4600-90L A | Tools | 8
A9B10282407 | Lift br WLL 30/20 MT, 4140/4600-90R A | Tools | 8
A9B10285640 | Yaw Box 2.3/3.0DD R18D-R19 | Tools | 11
A9B10286164 | Lifting bracket, WLL 42/25 MT, D3354-58 | Tools | 9
A9B10286863 | Casting template compl V53-M48x200 | Tools | 32
A9B10286864 | Casting template V53-M48x200 | Tools | 281
A9B10286865 | Tool kit set D3 MKll SBI B63 | Tools | 140
A9B10289299 | Lift Br WLL 47/33 MT, 4130/4630-110R | Tools | 19
A9B10289300 | Lift Br WLL 47/33 MT, 4130/4630-110L | Tools | 19
A9B10289740 | Lift sling pack f blade B63/B69 rotation | Tools | 6
A9B10292056 | Gen 100 KVA config setup Onshore v2 OBS | Tools | 197
A9B10292362 | Casting template compl V58-M42x240-03 | Tools | 67
A9B10292364 | Casting template compl V62-M42x220-01 | Tools | 61
A9B10295268 | G132-1-A-Lcon Tool sets 1 | Tools | 1499
A9B10295269 | G132-1-B-Lcon Tool sets 2 | Tools | 1908
A9B10295270 | G132-1-C-Lcon UNL LFT TO HU DT BL | Tools | 464
A9B10295911 | G132-1-D-TK FA SPT DT + HUB 2 PC | Tools | 410
A9B10295912 | G132-1-E-TK FA SPT DT + HUB 1 PC | Tools | 205
A9B10295913 | G132-1-F-Lcon Tool sets 3 | Tools | 5560
A9B10295914 | G132-1-G-Lcon LFTCon + BL beam | Tools | 540
A9B10295915 | G132-1-H-Lcon Tool sets 4 | Tools | 649
A9B10295957 | PU Installation platform R19CO | Tools | 189
A9B10297105 | Rotor lift br. f D3MkII-120 Hub | Tools | 586
A9B10297158 | Casting template compl V67-M42x180-07 | Tools | 57
A9B10298184 | Rotor bracket f D3 MkII B59-20 SBI | Tools | 2847
A9B10298190 | Tension test tool f D3MKII-120 bracket | Tools | 508
A9B10298241 | Tension test tool f D3MKII B59-20 SBI | Tools | 586
A9B10299892 | B69 rotor assembly foam saddle | Tools | 71
A9B10299952 | B69 temporary root rest, left | TEQ | 3
A9B10299953 | B69 temporary root rest, right | TEQ | 3
A9B10302142 | Roundsling 12mt 16m/32m | Tools | 2
A9B10302143 | Roundsling 12mt 17m/34m | Tools | 2
GP054317 | TK FA TRN TOWER G9X-G11X, 4.14 | TEQ | 51
GP073961 | TK FA MTG GUIDING ROPE 200M | Tools | 1
GP075219 | TK FA LFT SWITCHGEAR AND GROUND | Tools | 1
GP082796 | Universal foot 103MT 2170-4500 M20-48 R4 | TEQ | 5
GP103005 | TK FA SPT MV CABLE D2.4X1.6 WLL5.0 | Tools | 14
GP109443 | TK FA LFT BOTTOM STEEL HOOK RANGE 40-158 | Tools | 11
GP127879 | TK FA MTG BLADE STUDS | Tools | 1
GP132397 | TK FA SPT TOWER D4600 AT SITE G8X | Tools | 1
GP135567 | TK FA MTG RETAIN BOLT TOWER M36-48 | Tools | 1
GP146016 | TK FA MTG CABLE GUIDE SG9X-G114 | Tools | 12
GP154048 | TK FA MTG CENTERING PIN M36 | Tools | 1
GP154049 | TK FA MTG CENTERING PIN M42 | Tools | 1
GP154050 | TK FA MTG CENTERING PIN M48 | Tools | 1
GP192016 | TK FA LFT TOP STEEL TOWER RANGE 390-790 | Tools | 118
GP192017 | TK FA LFT BOTTOM STEEL HOOK RANGE 80-213 | Tools | 13
GP202963 | TK FA SPT TOWER SECTIONS STEEL PLATE | Tools | 2
GP202965 | TK FA LFT HOOK 45T TWR SECTION G5G9G10, 1.9 | TEQ | 64
GP204147 | TK FA LFT UNL TWR SECTIONS 2X L20M 32TN | Tools | 4
GP220240 | TK FA MTG CENTERING PIN M64 | Tools | 3
GP222508 | TK FA TRN NACELLE PLATFORM G114, 2.21 | TEQ | 1832
GP222509 | TK FA TRN MARITIME TRAIN NACELLE LG114 | TEQ | 16
GP223052 | TK FA LFT BLADE+ TK TRN G114 | TEQ | 16
GP223452 | TK FA LFT CONTAINERS 20-40FT WLL40.0 | Tools | 8
GP231573 | TK FA MTG FOUNDATION STUD ALIGNMENT | Tools | 1
GP249259 | TK FA MTG PLATES GEN ALIGNMENT G114 | Tools | 1
GP251812 | TK FA VAL ROTATING LASER SGX | Tools | 4
GP253366 | TK FA TRN NACELLE INTERMEDIATE MOD G114, 3.18 | TEQ | 196
GP266512 | TK FA EXTERNAL DIGITAL LEVEL | Tools | 6
GP273231 | TK FA TOWER SPT HANDLING TROLLEY | Tools | 1
GP277213 | TK TRN TIP BOTTOM FRAME BLADE LG132-G126 | TEQ | 37
GP277216 | TK FA LFT BLADE LG132I | Tools | 64
GP279764 | TK FA TRN TRAIN TRANSPORT RING LG114, 1.3 | TEQ | 7395
GP285975 | TK FA LFT NACELLE 2MW STD1 AT HARB G114, 2.3 | TEQ | 355
GP285976 | TK FA LFT NAC 2MW STD2 / 2.1MW MY16 G114, 3.6 | TEQ | 322
GP285977 | TK FA LFT NACELLE 2.5MW AT HARBOUR G114, 2.3 | TEQ | 355
GP296409 | TK ASS TRN 4F int up frame LG97-LG114 | TEQ | 10
GP297504 | TK FA TRN Blade tile tip support LG132I | TEQ | 1
GP302233 | TK FA MTG CENTERING PIN M56 | Tools | 1
GP305096 | TK FA TRN BLADE TBOLTS G114, 4.18 | TEQ | 289
GP305288 | TK FA MTG ELECTROSTATIC DISCHARGE SYSTEM | Tools | 1
GP306733 | TK FA TRN HYBRID RING G114-G132 | TEQ | 66
GP306734 | TK FA TRN NAC3.3 WO DT REAR SPT LG132, 1.9 | TEQ | 21
GP306735 | TK TRN NAC WO DT ROAD SPT LG132 | TEQ | 3
GP306736 | TK TRN REAR SPT FIXATION LG132 | TEQ | 5
GP318634 | TK FA STG + TRN HUB LG114, 3.10 | TEQ | 118
GP320839 | TK FA LFT BOX 800X600X600 WLL2.0 | Tools | 1
GP320843 | TK FA LFT BOX 450X450X600 WLL1.0 | Tools | 1
GP330052 | TK FA MTG RTR TURN TORQUE BLADE TO BLADE | Tools | 49
GP330827 | TK FA MTG OPEN NACELLE ROOF 3.3MW | Tools | 40
GP330828 | TK FA MTG SAFETY GANGWAY MF 3.3MW | Tools | 7
GP332039 | TK FA TRN COOLING 3.3MW LG132 | TEQ | 891
GP332105 | TK FA LFT HUB LG132-3.3_LG126 | TEQ | 38
GP332106 | TK FA TRN SPINNER FRAME LG132-2.3_LG126, 0.11 | TEQ | 102
GP332107 | TK FA LFT SPINNER LG132-3.3_LG126 | TEQ | 5
GP332108 | TK FA TRN BLADE LG126, 0.26 | TEQ | 253
GP332659 | TK FA MTG TURNING YAW BOX G132 3.3MW | Tools | 5
NOT ALLOWED TO USE
GP332917 | TK FA MTG TURNER ROTOR LOW WIND | Tools | 27
GP332947 | TK FA LFT UNL ROTOR COVER FIBERS G126 | Tools | 2
GP332953 | TK FA MTG COUPLING GEARBOX GEN 3MM | Tools | 13
GP334885 | TK FA SPT NACELLE CRANE MATS | Tools | 3
GP336437 | TK FA TRN SPINNER FRAME LG132-3.3_LG126 | TEQ | 21
GP336439 | TK FA TRN SPINNER LEGS G132 | TEQ | 8
GP336882 | TK FA LFT LUG HUB G126, 0.9 | TEQ | 12
GP337273 | TK FA TRN ROOT FRAME BLADE G126 | TEQ | 16
GP337275 | TK FA TRN ROOT UPPER FRAME BLADE G126 | TEQ | 16
GP338304 | TK FA TRN HUB G126, 2.11 | TEQ | 183
GP338305 | TK FA TRN HUB G132 | TEQ | 97
GP339131 | TK FA GLYCOL FILLING IN GENERATOR 3.3MW | Tools | 6
GP340390 | TK FA MTG ROD PROTECTION PITCH CYLINDER | Tools | 1
GP341627 | TK FA MTG MV CABLE GUIDE NACELLE | Tools | 1
GP342991 | TK FA MTG AUX CABLE P. GROUP-TOWER 3.3MW | Tools | 1
GP343054 | TK FA MTG BLADE BEARING PUMP W/O TANK | Tools | 16
GP343952 | TK FA MTG BLADE BEARING CANVAS D3125 MAX | Tools | 1
GP345825 | TK FA LFT NAC 2.1MW CS-MY17 G114 - G122, 1.4 | TEQ | 322
GP345826 | TK FA LFT NACELLE 2.5MW AT HARBOUR G126, 1.9 | TEQ | 355
GP345827 | TK FA LFT NACELL 2.5MW NO DT G114 G126, 1.4 | TEQ | 346
GP345828 | TK FA LFT NACELLE 3.3MW AT HARBOUR G132 | Tools | 239
GP346021 | TK FA MTG SOLID RUBBER SAF DISTRIB BOX | Tools | 7
GP346033 | TK FA MTG AUX CABLE NAC-ELECT BOX 3.3MW | Tools | 1
GP346667 | TK PRT TRN TIP CLAMP BLADE LG132I | TEQ | 2
GP348874 | TK FA MTG CONE SPINNER PLATFORM 3.3MW | Tools | 10
GP349037 | TK FA MTG POS GEARBOX TORQUE ARMS 3.3MW | Tools | 1
GP357155 | TK FA VAL PRE-COMMISSIONING 3.3MW | Tools | 1
GP357159 | TK FA MTG GENERATOR-GND FAST CONNECTION | Tools | 1
GP358325 | TK FA TRN Root interface blade G132 | TEQ | 19
GP366149 | TK PRT TRN Tip interf blade R41 LG132I | TEQ | 13
GP366150 | TK PRT TRN TIP INTERF BLADE R48 LG132I | TEQ | 12
GP369317 | TK FA MTG RETAIN BOLT TOWER M56 | Tools | 18
GP369777 | TK FA MTG RETAIN BOLT TOWER M64 | Tools | 3
GP371849 | TK LFT AUTOMAT TWISTLOCK FOR BLADES, 1.12 | TEQ | 600
GP373788 | TK PRT Tip support cradle blade LG132 | TEQ | 11
GP373789 | TK DISTANCER 70MM 5MW T-BOLT BLADE LG132 | TEQ | 2
GP373790 | TK TRN Root side lash T-bolt blade LG132 | TEQ | 14
GP374079 | TK FA MTG BOLT PLATFORM M36 L2300-2764 | Tools | 3
GP374096 | TK FA MTG DT+HUB CENTERING PIN | Tools | 1
GP375509 | TK FA LFT DT LG132-3.3_LG126_LG114 | TEQ | 179
GP375628 | TK TRN TIP SIDE LASH T-BOLT BLADE LG132 | TEQ | 15
GP385826 | TK FA TRN DT 2.5MW LG126_LG114, 1.11 | TEQ | 279
GP389292 | TK FA SPT BLADE CRANE MATS | Tools | 4
GP397575 | TK FA MTG LOCKING BRAKE DISC FROM HYD GP | Tools | 4
GP405722 | LFT DEVICE TWIST-LOCK WLL10T 0-45 | Tools | 4
GP405767 | TK FA VAL ALIGNMENT ULTRASONIC | Tools | 1
GP406754 | TK FA MTG COMPRESS ELASTOMER | Tools | 1
GP412681 | TK PRT MTG PLATFORM HOLE COVER | Tools | 1
GP412682 | TK PRT MTG PLATFORM LADDER CANVAS | Tools | 1
GP412683 | TK FA MTG PLATFORM HOLE COVER | Tools | 1
GP412684 | TK FA MTG PLATFORM LADDER CANVAS | Tools | 1
GP417753 | TK FA TRN TBOLT BLADE LSG4.5, 1.4 | TEQ | 150
GP419440 | TK FA TRN ROOT BOTTOM ADAPTER B63 | TEQ | 2
GP419441 | TK FA TRN ROOT BOTTOM INTERFACE B63 | TEQ | 10
GP419442 | TK FA TRN ROOT SIDE SEA-LASH B63 | TEQ | 57
GP419443 | TK FA TRN TIP BOTTOM FRAME B63 | TEQ | 33
GP419444 | TK FA TRN TIP CLAMP B63 | TEQ | 4
GP419445 | TK FA TRN TIP CRADLE B63 | TEQ | 22
GP419446 | TK FA TRN TIP SIDE SEA-LASH B63 | TEQ | 54
GP419771 | MONTAJE TEMPORAL LPS (NO valido para SG145LM) | Tools | 1
GP421659 | Transport root frame LM69 rotorblade | TEQ | 67
GP421896 | TK FA TRN CRADLE SUPPORT BLADE B63 | TEQ | 20
GP421897 | TK FA TRN TIP TILE BLADE B63 | TEQ | 3
GP424648 | TK FA MTG RTR TURN TORQUE SBI 114 KNM | Tools | 102
GP424976 | TK FA MTG TIP BAG 1530X1200 | Tools | 1
GP425250 | TK FA MTG TOWER PROTECTION 1000X800 | Tools | 1
GP425380 | TK FA MTG HELICAL STRAKE MAX 32M | Tools | 11
GP426140 | TK FA MTG SONIC SENSOR COOLING SYST L850 | Tools | 4
GP430573 | TK FA TRN ROOT UPPER INTERFACE B63 | TEQ | 42
GP430574 | TK FA TRN TIP SEA-LASH LADDER B63 | TEQ | 2
GP436287 | TK FA TRN NACELLE RING LSG4.5 | TEQ | 113
GP436288 | TK FA TRN ROAD NACELLE REAR SPT LSG4.5, 1.3 | TEQ | 8
GP436289 | TK FA LFT NACELLE LSG4.5, 1.3 | TEQ | 182
GP436290 | TK FA TRN HUB LSG4.5, 0.9 | TEQ | 178
GP436291 | TK FA LFT HUB LSG4.5, 0.12 | TEQ | 42
GP436292 | TK FA TRN DT LSG4.5, 0.4 | TEQ | 277
GP436295 | TK FA TRN COOLING LSG4.5, 0.10 | TEQ | 11
GP437871 | TK FA LFT BLADE CLAMP 30TN SG145 | Tools | 399
GP440213 | TK FA TRN DT 3.3MW G132 (GET-WINERGY) | Tools | 183
GP440731 | TK FA MTG CONNECT LIGHT - SOCKET BOX+FC | Tools | 2
GP446663 | TK FA MTG SAFETY GANGWAY MF | Tools | 7
GP446664 | TK FA MTG PLATFORM HUB-DRIVE TRAIN >=4MW | Tools | 11
GP446671 | TK FA MTG PLASTIC HELICAL STRAKE MAX 32M | Tools | 11
GP446672 | TK FA LFT LOADS TOWER | Tools | 9
GP447498 | TK FA MTG TC POSITION G145 4.XMW | Tools | 2
GP447500 | TK FA LFT COOLING SYSTEM 4.XMW | Tools | 2
GP448111 | TK FA TRN SEA NACELLE SPT LSG4.5, 0.7 | TEQ | 23
GP448783 | TK FA SPT BLADES | Tools | 50
GP450581 | TK FA LFT BLADE HANDLING 30TN G145 | Tools | 28
GP450689 | TK FA TRN COOLING 3.3MW LSG132, 0.19 | TEQ | 9
GP453910 | TK FA MTG GEN 12.5KVA 230/400V | Tools | 7
GP345873 | TK FA MTG PLATFORM HUB - DRIVE TRAIN | Tools | 75
GP454224 | TK FA MTG TURNING YAW BOX 6-8 GEARBOXES | Tools | 4
NOT ALLOWED TO USE
GP457232 | TK FA MTG ELECTROSTATIC DISCHARGE POLE | Tools | 1
GP458300 | TK FA MTG TELESCOPIC LADDER | Tools | 2
GP459284 | TK FA TRN TOWER STACKING FRAME SGXX, 0.10 | TEQ | 51
GP471689 | TK FA TRN HUB LSG4.5-145 REINFORCED, 1.3 | TEQ | 193
GP480742 | TK FA MTG ALUMINIUM FOLDING PLATFORM | Tools | 2
GP482927 | TK FA MTG FRONT ROOF (G132 - G145 -STG3) | Tools | 3
GP483191 | TK FA MTG SAFETY GANGWAY MF W/O BRIDGE | Tools | 7
GP483192 | TK FA MTG SAFETY GANGWAY MF WITH BRIDGE | Tools | 8
GP483815 | TK FA MTG RTR TURN SBI 114KNM DANHYDRA | Tools | 102
GP484066 | TK FA MTG PROTECTION BOX SERVICE LIFT | Tools | 2
GP491261 | TK FA MTG TEMPORARY LPS | Tools | 1
GP494414 | TK FA LFT BOTTOM HOOK 70-213 WLL70TN | Tools | 30
GP509212 | TK FA TRN MARITIME REAR FEET NAC SG5x | Tools | 2
GP509213 | TK FA TRN MARITIME REAR FEET NAC SG5x | Tools | 2
GP502084 | TK FA MTG GB ELEC. LUBRICATION PUMP | Tools | 5
GP503793 | TK FA LFT WIRE LOWERING FOR LIFT COMPL | Tools | 3
GP504334 | TK FA MTG CABLE 16A GENSET-NAC AND GND | Tools | 1
GP504335 | TK FA MTG CABLE 63A GENSET-NAC AND GND | Tools | 2
GP507199 | TK FA UNL BLADE SG4.X-145 LM | Tools | 4
GP506148 | TK FA MTG CABLE GUIDE INNER LADDER | Tools | 147
GP330825 | TK FA LFT NACELLE W/O DT SPREADER | Tools | 508
GP435709 | TK FA LFT UNL HUB WITH 2 LIFTING POINTS | Tools | 30
GP374029 | TK FA LFT UNL DT 2 CRANES 3.3MW | Tools | 62
GP330826 | TK FA LFT NAC WITHOUT DT 3.3MW | Tools | 108
GP426961 | TK FA LFT DT+HUB 3.3MW | Tools | 142
GP222518 | TK FA LFT TRN BLADE AT SITE SG114 | Tools | 42
GP386080 | TK FA SPT DT + HUB | Tools | 137
GP470372 | TK FA LFT BLADE CLAMP 30TN SG132 | Tools | 4523
GP463610 | TK FA MTG HUB ACCESS BLADES INSTALLATION | Tools | 8
GP483278 | TK PRT MTG CLOSED FENCE ELEV. GAP COVER | Tools | 57
GP302015 | TK PRT MTG ELEVATOR GAP COVER | Tools | 10
A9B10264768 | Tools f start up G8X/G9X/G114/G126/G132 | Tools | 378
GP330832 | TK FA MTG TC POSITION G132 | Tools | 8
A9B10311189 | BoltScope ULTRA, Ultrasonic bolt monitor | Tools | 89
GP362045 | TK FA LFT BRACED FOUNDAT TWR ACC LADDER | Tools | 18
GP332951 | TK FA SPT HUB ON TRN TOOLKIT | Tools | 333
GP446665 | TK FA LFT UNL HUB 50T | Tools | 138
GP432781 | TK FA UNL NAC W/O DT-DT SPREADER 120TN | Tools | 732
A9B10324627 | Container 20´Ot Rental | Tools | 39
GP447497 | TK FA LFT NAC WITHOUT DT 4.XMW | Tools | 129
GP481059 | TK FA MTG MULTILAYER SCREWS M24 | Tools | 19
GP484218 | TK FA LFT DT STG4 SG4.X | Tools | 87
GP446669 | TK FA MTG PLATES GEN ALIGNMENT 4.XMW | Tools | 6
GP524891 | TK FA MTG AUX CABLE P. GROUP-AA4001 | Tools | 3
A9B10327614 | ON DD tower guide bumper tool kit |  | 299
A9B10266452 | Full rotor lift br kit D3MKII 130/142Hub |  | 188
GP482790 | TK FA MTG MULTILAYER SCREWS M20 |  | 27
GP330824 | TK FA LFT UNL HUB |  | 181
A9B10279058 | Busbar work platform D3MKII R19 |  | 59
A9B10051666
A9B10314475
A9B10303831 | First Aid KIT # |  | 31
A9B10187509 | Transformer Replacement Tool 3,6MW |  | 246
A9B10325508 | D3MKII tower guiding tool kit | tools | 17
A9B10345070 | Camera set compl. - wired solution - ON |  | 131
GP460703 | TK ASSY MTG PLASTIC HELICAL STRAKE 1 SET |  | 49
A9B10296134 | B69 tip end trail edge protec LM Wind v2 |  | 5
A9B10306671 | B69 rotor assy sling kit w foam saddle |  | 19
GP525727 | TK FA MTG BLADE GUIDE PINS M36X850 |  | 25
A9B10318353 | Lifting bracket, WLL 50/28 MT, 4151-72 |  | 43
GP530380 | TK FA MTG PLATFORM HOLE COVER D500 |  | 5
GP451538 | TK PRT LFT NACELLE LIFT BEAM 120TN |  | 131
GP254971 | TK FA STG TKS STD BOX TYPE 1 SGXX |  | 9
GP565221 | KIT RIGGING SPREADER 120TN SG4.X |  | 135
A9B10356647 | Tools for Quality Inspect. SG Turbines |  | 120
GP565240 | KIT COMMON CLAMP 30TN |  | 1139
GP566954 | KIT INTERF CLAMP 30TN SG3.X/4.X-145 SGRE |  | 198
GP520915 | TK FA SPT BLADES ROOT 2.3-4.0M |  | 266
GP531121 | TK FA MTG TRANSFORMERS DRYING |  | 17
GP539451 | TK FA MTG BLADE GUIDE PINS M42X750 |  | 12
GP521630 | TK FA MTG AUX CABLE P. GROUP-TOWER SG5.X |  | 11
GP533201 | TK FA MTG CABLE GUIDE INNER LADDER SG5.X |  | 137
GP521629 | TK FA MTG OPEN NAC ROOF SG5.X |  | 340
GP533059 | TK FA MTG BLADE BEARING PUMP SG5.X |  | 263
GP520866 | TK FA MTG CONTROL GEARBOX - YAW SYSTEMS |  | 219
GP549944 | TK FA MTG AUX PLATFORM NAC BEAM SG5.X |  | 21
GP549942 | TK FA MTG BRIDGE OVER TU AREA SG5.X |  | 50
GP520911 | TK FA MTG NACELLE ROOF |  | 122
GP541908
GP521057 | TK FA MTG NAC FRONTAL BEAM SG5.X |  | 28
GP565241 | KIT INTERF CLAMP 30TN SG5.X-155 SGRE |  | 944
GP565242 | KIT INTERF CLAMP 30TN SG5.X-155 LM |  | 944
GP533950 | TK FA MTG ELEVATOR CANVAS SG5.X |  | 30
GP521056 | TK FA LFT TU WLL30.0MT |  | 25
GP531138 | TK FA MTG CONE SPINNER PLATF SG5.X-155 |  | 63
GP533387 | TK FA MTG MANHOLE STEPS SG5.X-155 |  | 115
GP551580 | TK FA MTG HUB INNER PLATFORM SG5.X-155 |  | 110
GP520910 | TK FA SPT DT + HUB 160MT |  | 68
GP520912 | TK FA MTG SAFETY GANGWAY SG5.X |  | 68
GP533063 | TK FA LFT ST TOWER M42 388-829 WLL145 |  | 493
GP533064 | TK FA LFT BOTTOM HOOK 90-180 WLL83MT |  | 302
GP520899 | TK FA LFT NAC WITHOUT DT SG5.X |  | 128
GP520871 | TK FA LFT UNL HUB SG5.X |  | 156
GP520921 | TK FA LFT MOVE DT SG5.X |  | 47
GP565223 | KIT RIGGING SPREADER 120TN SG5.X |  | 197
GP520898 | TK FA LFT DT+HUB SG5.X |  | 219
GP520922 | TK FA MTG GUIDING TU |  | 12
GP480881 | TK FA LFT CONSTRUCTION 1TN |  | 13
GP520864 | TK FA MTG RTR TURN SBI 114KNM DANH SG5.X |  | 1308
GP522941 | TK FA MTG AUX PWR BOX WO GROUND SG5.X |  | 75
GP520868
GP520914 | TK FA MTG BLADE BEARING CANVAS 2.8-4.0M |  | 9
GP533438 | TK FA MTG BLADE BELT PIN RELEASE 4.0M |  | 4
A9B10363160 | TK PRT LFT BAG 350X600X750 WLL0.500 4pcs |  | 2
A9B10296444
GP560172
GP223054
GP345595
GP303869
GP305014
GP304079
GP344790
GP448889
GP332945
GP345892
A9B10193777
A9B10312144
GP408119
GP332949
A9B10342612
A9B10312148
A9B10312146
A9B10382941
A9B10261723